TEA SENSE: A Spectroscopic System for Estimating Moisture and Quality Parameters in Black Tea

Final Year Project Proposal

Muhammed Saad Mazhar

IIT ID: 20221804        UoW ID: W2053223

Supervisor: Mr. Ajeevan Sivanandhan

September 2026

ABSTRACT

Black-tea quality depends on moisture, polyphenols, the theaflavin to thearubigin ratio (TF:TR), caffeine and sugar, and safety depends on residues such as glyphosate. Each is measured by a separate laboratory method; moisture alone takes about six hours by oven-drying to constant mass, while the others need extraction, spectrophotometry, HPLC or LC-MS/MS. Results therefore arrive after processing and trading decisions are made.

This project proposes and evaluates a Near-Infrared (NIR) spectroscopy and Artificial Intelligence (AI) framework in which one portable NIR scan, taking seconds and destroying nothing, feeds parameter-specific prediction models. The framework is built and validated experimentally on moisture, using oven-drying as the reference, by comparing spectral preprocessing (SNV, MSC, Savitzky-Golay), wavelength selection (CARS) and models (PLSR, SVR, Random Forest and an optional neural network) on held-out and source-held-out Sri Lankan black-tea samples, and by measuring the time saved. A structured review of 45 studies rates which further parameters the same framework can realistically estimate.

The literature shows strong NIR evidence for moisture, caffeine, TF:TR and polyphenols, emerging evidence for added sugar, and no credible NIR route for trace glyphosate. A preliminary proof of concept on a public NIR moisture dataset reached an RMSEP of 1.04% (R2p 0.989) with SVR and confirmed the leakage-free pipeline. The expected outcome is a validated moisture model that cuts measurement time from about six hours to under one minute, a reproducible multi-parameter framework and an evidence-based feasibility map for the remaining parameters.

Keywords: Near-Infrared Spectroscopy (NIR), Tea Moisture, Tea Quality Parameters, Artificial Intelligence, Machine Learning, Chemometrics, Spectral Preprocessing, Quality Control

DECLARATION AND GENERATIVE AI DISCLOSURE

Signature: Saad______________________          Date: ____________________

ACKNOWLEDGEMENTS

I would like to express my sincere gratitude to my supervisor, Mr. Ajeevan Sivanandhan, for his guidance, support and valuable feedback throughout the development of this project proposal.

I would also like to acknowledge the support provided by my lecturers, colleagues and everyone who has contributed their time, knowledge and encouragement towards the development of this research.

Finally, I would like to thank my family and friends for their continued support and encouragement throughout my academic journey.

TABLE OF CONTENTS

CHAPTER 1: INTRODUCTION	1

1.1 Chapter overview	1

1.2 Problem background	1

1.2.1 Research domain context	1

1.2.2 Specific technological context	2

1.2.3 Practical and real-world context	3

1.3 Problem definition	3

1.3.1 Problem statement	3

1.4 Research motivation	3

1.5 Research gap analysis	4

1.6 Contribution to the body of knowledge	5

1.6.1 Research-domain contribution	5

1.6.2 Problem-domain contribution	5

1.7 Research challenges	5

1.8 Research questions	5

RQ1	5

RQ2	6

RQ3	6

RQ4	6

RQ5	6

1.9 Research aim	6

1.10 Research objectives	6

1.11 Scope, delimitations and assumptions	7

1.12 Expected outcomes and deliverables	7

1.13 Chapter summary	8

CHAPTER 2: LITERATURE REVIEW	9

2.1 Chapter overview	9

2.2 Review strategy and concept map	9

2.2.1 Literature search and selection strategy	9

2.2.2 Concept map	10

2.3 Problem-domain review	10

2.3.1 Domain task and decision context	10

2.3.2 Data and operational challenges	11

2.3.3 Standards, regulations and professional expectations	11

2.4 Technological review by implementation stage	12

2.4.1 Spectral acquisition and sensing technology	12

2.4.2 Preprocessing and quality control	13

2.4.3 Wavelength selection and feature extraction	13

2.4.4 Core modelling approach	13

2.4.5 Reliability, uncertainty and robustness	14

2.4.6 Interpretability and output presentation	14

2.4.7 Training strategy and hyperparameter optimisation	14

2.5 Existing work: thematic analysis	14

Theme 1: Moisture is the strongest and most mature NIR target	14

Theme 2: Phenolic quality (polyphenols, catechins and TF:TR) is feasible but harder	15

Theme 3: Caffeine and multi-parameter estimation from one spectrum	16

Theme 4: Adulteration and safety (sugar and glyphosate)	16

Theme 5: Generalisation and deployment	16

2.6 Dataset review and comparison	17

2.7 Evaluation and benchmarking review	17

2.8 Synthesis and final research positioning	18

2.9 Proposed conceptual architecture	19

2.10 Chapter summary	19

CHAPTER 3: RESEARCH, TECHNICAL AND PROJECT METHODOLOGY	21

3.1 Chapter overview	21

3.2 Research methodology using Saunders' Research Onion	21

3.3 Research design and hypotheses	21

3.4 Proposed technical methodology and implementation pipeline	22

3.4.1 Sample acquisition, data ingestion and governance	22

3.4.2 Data quality assessment	22

3.4.3 Pre-processing	22

3.4.4 Baseline construction	23

3.4.5 Proposed model and system	23

3.4.6 Reliability, uncertainty and robustness component	23

3.4.7 Output, explanation and presentation component	24

3.4.8 Reproducibility and experiment tracking	24

3.5 Requirements engineering	25

3.5.1 Stakeholder analysis	25

3.5.2 Requirement elicitation and evidence	25

3.5.3 Functional and non-functional requirements	26

3.6 System and software design	26

3.7 Data requirements and management plan	26

3.8 Development methodology	27

3.9 Evaluation methodology	27

3.9.1 Dataset splits and validation protocol	27

3.9.2 Baselines and ablation studies	27

3.9.3 Metrics and analysis	28

3.9.4 Research question to evaluation traceability	28

3.10 Project management methodology	28

3.10.1 Schedule and milestones	29

3.10.2 Deliverables and dates	29

3.11 Resources and new technical skills	29

3.12 Risk analysis and mitigation	30

3.13 Preliminary proof of concept and feasibility evidence	30

3.14 Chapter summary	31

CHAPTER 4: LEGAL, ETHICAL, SOCIAL AND PROFESSIONAL ISSUES	32

4.1 Chapter overview	32

4.2 Social issues	32

4.3 Legal issues	32

4.4 Ethical issues	32

4.5 Professional issues	33

4.6 Responsible use of Generative AI tools	33

4.6.1 Intended and permitted use	33

4.6.2 Prohibited or high-risk use	33

4.6.3 Verification and human accountability	33

4.6.4 Privacy, confidentiality and intellectual property	33

4.6.5 Transparency, disclosure and AI-use register	34

4.6.6 Generative AI declaration	34

4.6.7 Project-specific Generative AI risk assessment	34

4.7 Chapter summary	34

REFERENCES	35

APPENDICES	39

Appendix A: Detailed search strategy and screening log	40

Appendix B: Concept map	41

Appendix C: Literature survey matrix	42

Appendix D: Research gap analysis matrix	43

Appendix E: Dataset comparison matrix and data dictionary	44

Appendix F: Stakeholder onion, elicitation instruments and evidence	45

Appendix G: Full functional and non-functional requirements	46

Appendix H: Use cases, use-case descriptions and activity/sequence diagrams	47

Appendix I: Detailed architecture and data-flow diagrams	48

Appendix J: Detailed Gantt chart, backlog and milestone plan	49

Appendix K: Full risk register and issue log	50

Appendix L: Generative AI use declaration and AI-use register	51

Appendix M: Preliminary proof-of-concept screenshots, test logs and sample outputs	52

Appendix N: Ethics clearance material and data-management approvals	53

LIST OF FIGURES

Figure 1: Concept map linking tea parameters, NIR principles, the analysis pipeline and the research gap	10

Figure 2: Tea Sense conceptual architecture	19

Figure 3: Stakeholder influence and interest	25

Figure 4: Summary schedule and milestones	29

Figure 5: Concept map (full size)	41

Figure 6: Use-case diagram	47

Figure 7: Conceptual architecture (repeat of Figure 2 for reference)	48

Figure 8: Data-flow diagram	48

Figure 9: Proof of concept on surrogate Tecator data: raw spectra with CARS-selected wavelengths shaded (left) and SVR predictions on the locked test set (right)	52

LIST OF TABLES

Table 1: Conventional reference methods for black-tea parameters	1

Table 2: Research gap summary	4

Table 3: Research objectives	6

Table 4: Expected outcomes and deliverables	7

Table 5: Decisions supported and the cost of errors	11

Table 6: Summary of pipeline-stage choices	12

Table 7: Comparison of NIR moisture studies	15

Table 8: Parameter feasibility matrix derived from the thematic analysis	16

Table 9: Comparison of datasets in reviewed studies and the planned Tea Sense dataset	17

Table 10: Common interpretation of RPD in NIR studies	18

Table 11: Positioning against the closest studies	18

Table 12: Research Onion justification	21

Table 13: Hypotheses	22

Table 14: Key requirements (MoSCoW); full specification in Appendix G	26

Table 15: Dataset plan	26

Table 16: Metrics defined before experimentation	28

Table 17: Research question to evaluation traceability	28

Table 18: Deliverables and dates	29

Table 19: Highest-priority risks; full register in Appendix K	30

Table 20: Preliminary proof of concept on surrogate NIR data (held-out test set)	30

LIST OF ABBREVIATIONS

| Abbreviation | Meaning |
| --- | --- |
| AI | Artificial Intelligence |
| ANN | Artificial Neural Network |
| BCS | BCS, The Chartered Institute for IT |
| BiGRU | Bidirectional Gated Recurrent Unit |
| CARS | Competitive Adaptive Reweighted Sampling |
| CNN | Convolutional Neural Network |
| CTC | Crush Tear Curl |
| CV | Cross-Validation |
| ELM | Extreme Learning Machine |
| FT-NIR | Fourier-Transform Near-Infrared |
| FTIR-ATR | Fourier-Transform Infrared, Attenuated Total Reflectance |
| HPLC | High-Performance Liquid Chromatography |
| iPLS | Interval Partial Least Squares |
| ISO | International Organization for Standardization |
| KS | Kennard-Stone |
| LC-MS/MS | Liquid Chromatography with Tandem Mass Spectrometry |
| LIBS | Laser-Induced Breakdown Spectroscopy |
| LOQ | Limit of Quantification |
| LOSO | Leave-One-Source-Out |
| MSC | Multiplicative Scatter Correction |
| NIR | Near-Infrared |
| PCA | Principal Component Analysis |
| PLSR | Partial Least Squares Regression |
| R2 | Coefficient of determination (R2p on the prediction set) |
| RF | Random Forest |
| RMSEC / RMSECV / RMSEP | Root Mean Square Error of Calibration / Cross-Validation / Prediction |
| RPD | Ratio of Performance to Deviation |
| RQ | Research Question |
| SDG | Sustainable Development Goal |
| SERS | Surface-Enhanced Raman Spectroscopy |
| SG | Savitzky-Golay |
| SNV | Standard Normal Variate |
| SPA | Successive Projections Algorithm |
| SUS | System Usability Scale |
| SVR | Support Vector Regression |
| TF / TR | Theaflavins / Thearubigins |
| THz | Terahertz |
| TRI | Tea Research Institute of Sri Lanka |
| UV-Vis | Ultraviolet-Visible |
| VIP | Variable Importance in Projection |

GLOSSARY

| Term | Meaning |
| --- | --- |
| Calibration set | Samples used to build and tune a model; never used for final evaluation. |
| Chemometrics | Statistical and mathematical methods for extracting chemical information from measurement data such as spectra. |
| Diffuse reflectance | Light scattered back from inside a solid sample, which carries information about its composition. |
| Kennard-Stone split | A data split that selects calibration samples to cover the spectral space evenly. |
| Leave-one-source-out | Validation in which all samples from one estate or factory are held out and predicted by a model trained on the rest. |
| Made tea | Finished black tea after drying and sorting. |
| Reference method | The accepted laboratory method that provides ground-truth values, such as oven-drying for moisture. |
| TF:TR ratio | The ratio of theaflavins to thearubigins, a black-tea fermentation and quality indicator. |
| Wavelength selection | Choosing the most informative wavelengths so a model uses fewer, more relevant variables. |

# CHAPTER 1: INTRODUCTION

## 1.1 Chapter overview

This chapter introduces the research domain of rapid tea quality assessment using near-infrared (NIR) spectroscopy and artificial intelligence (AI). It explains why tea parameters such as moisture, polyphenols, the TF:TR ratio, caffeine, sugar and glyphosate matter, why conventional laboratory methods are slow, and how NIR and AI could shorten the measurement cycle. It then defines the problem, motivation, research gaps, contributions, challenges, research questions, aim, objectives, scope and expected outcomes, and leads into the literature review in Chapter 2.

## 1.2 Problem background

### 1.2.1 Research domain context

Tea quality is governed by physical, chemical and safety parameters. Moisture controls shelf life, mould risk and saleable weight; total polyphenols and catechins shape astringency; theaflavins (TF) and thearubigins (TR), formed during fermentation, give black tea its brightness, briskness and colour (Roberts and Smith, 1961); caffeine affects briskness and labelling; added sugar is an adulterant; and glyphosate residues are a market-access concern.

Sri Lanka exported 257.44 million kg of tea in 2025, earning about US$1.51 billion, up from 245.79 million kg in 2024 (Daily FT, 2026). At this scale, the speed and reliability of quality testing have direct commercial value, and integrity problems have real consequences: in 2018 the Sri Lanka Tea Board found 53 of 80 inspected factories mixing sugar or glucose into tea to darken it (Daily Mirror, 2018).

Each parameter is measured by its own laboratory reference method (Table 1). Moisture is determined by drying a sample at about 103 C to constant mass (ISO 1573), which takes about six hours in the author's laboratory procedure. The other parameters need solvent extraction, spectrophotometry, HPLC or LC-MS/MS. These methods are accurate but slow, destructive and laboratory-bound, so results usually arrive after drying, grading or trading decisions have been made.

Table 1: Conventional reference methods for black-tea parameters

| Parameter | Typical level | Reference method | Time and access |
| --- | --- | --- | --- |
| Moisture | About 2.5 to 7% in made tea | Oven-drying to constant mass at 103 C (ISO 1573) | About 6 h per batch; destructive |
| Total polyphenols | Percent level | Folin-Ciocalteu colorimetry (ISO 14502-1) | Hours including extraction; reagents |
| TF and TR (TF:TR) | Percent level | Roberts and Smith (1961) spectrophotometry | Hours; solvent partitioning |
| Caffeine | Percent level | HPLC | About 15 min run per sample after preparation (Rehman et al., 2020) |
| Sugars | Natural traces; adulteration up to several percent | HPLC with refractive-index detection (Piyasena et al., 2022) | Laboratory only |
| Glyphosate | Trace (mg/kg) | LC-MS/MS; LOQ 1.8 mg/kg (Samanthy et al., 2021) | Specialist laboratory |

Times other than moisture are indicative and will be confirmed with a tea laboratory. The research domain of this study is therefore the use of spectroscopy and AI to estimate several tea parameters rapidly, with moisture as the first, experimentally validated parameter.

### 1.2.2 Specific technological context

NIR spectroscopy (about 780 to 2500 nm) records overtone and combination absorptions of O-H, C-H and N-H bonds. Water, polyphenols, caffeine and sugars all contain these bonds, so one NIR spectrum carries information about several components, and diffuse reflectance lets it read solid tea without preparation (Hazarika et al., 2017). Water has strong bands near 970, 1450 and 1940 nm, which makes moisture the most direct NIR target.

Raw spectra contain scatter from particle size and packing, baseline drift and noise, so preprocessing such as Standard Normal Variate (SNV), Multiplicative Scatter Correction (MSC) and Savitzky-Golay (SG) smoothing and derivatives is normally applied (Qiu et al., 2026). Wavelength-selection methods such as Competitive Adaptive Reweighted Sampling (CARS) keep the most informative bands (Hazarika et al., 2024). Partial Least Squares Regression (PLSR) is the standard chemometric model, while machine learning (SVR, Random Forest, Extreme Learning Machines) and deep learning can capture non-linear relationships (Zou et al., 2022; Dong et al., 2017; Tao et al., 2026).

NIR has limits. It reads components present at percent levels well, but trace residues have no direct NIR signature; metals, for example, are predicted only through correlations with the tea matrix (Revilla et al., 2024). Other technologies (UV-Vis, FTIR, terahertz, LIBS, SERS) are considered where a parameter needs them, but NIR is the primary sensing technology for this study.

### 1.2.3 Practical and real-world context

Factories, estates, brokers, exporters, the Tea Board and laboratories all need quality information, but samples must usually be carried to a laboratory, prepared and analysed. A portable NIR system would not replace laboratory testing; it would act as a rapid screening layer, giving a moisture value in seconds and flagging samples that need laboratory confirmation. Real environments introduce variation in particle size, moisture distribution, temperature, cultivar, origin, processing stage, lighting and handling, so a model that works in the laboratory may not work in a factory. This research therefore evaluates the approach on real Sri Lankan tea samples and under practical conditions.

## 1.3 Problem definition

Tea quality assessment requires several parameters, each measured by a slow, destructive, laboratory-bound method. NIR spectroscopy with AI has shown strong results for individual tea parameters, but the evidence comes almost entirely from single cultivars, sites and seasons outside Sri Lanka, rarely reports time savings or field accuracy, and does not establish which parameters one portable NIR system can realistically cover. The research does not assume that one technology can measure every parameter. It builds and validates the framework on moisture, where an in-house reference method exists, and assesses the other parameters through structured evidence.

### 1.3.1 Problem statement

There is a need to evaluate whether near-infrared spectroscopy combined with chemometric and AI-based modelling can estimate black-tea quality parameters, beginning with moisture, accurately and rapidly enough for screening under practical conditions, and to establish which further parameters such a framework can realistically estimate.

## 1.4 Research motivation

Practical motivation. The industry needs results while decisions can still change: a dryer operator needs moisture during the batch, and a broker or the Tea Board needs to screen many lots quickly for adulteration. Replacing about six hours of oven-drying with a scan of under a minute would change how often and where testing can happen.

Technological motivation. Portable 900 to 1700 nm spectrometers and open-source machine learning now make low-cost NIR systems feasible (Li et al., 2023; Tang et al., 2025). The academic motivation is to establish which preprocessing, wavelength-selection and modelling choices work for Sri Lankan black tea, whether AI models genuinely beat chemometrics at realistic sample sizes, and which parameters NIR can and cannot serve, rather than assuming one sensor measures everything.

## 1.5 Research gap analysis

The gap is not the absence of NIR in tea research; NIR has been applied to moisture (Zou et al., 2022; Lan et al., 2022; Tao et al., 2026), caffeine (Rehman et al., 2020; Zareef et al., 2018), TF:TR (Dong et al., 2017), polyphenols (Liu et al., 2024; Xu et al., 2026) and added sugar (Luo et al., 2023). The gap is that this evidence is fragmented and local validation is missing. Five gaps follow from the literature, which Chapter 2 examines in detail.

Gap 1: No validated NIR moisture model for Sri Lankan black tea. Every moisture study reviewed used a single cultivar, site or season, and none used Ceylon black tea. Gap 2: Preprocessing and wavelength-selection effects are task-specific. Preprocessing raised class separability from 53.63 to 93.20 in one study (Das et al., 2020), and selection with few wavelengths worked for CTC tea (Hazarika et al., 2024), but the best strategy cannot be transferred from another parameter. Gap 3: Calibration does not guarantee generalisation. Validation accuracy fell below calibration accuracy in Revilla et al. (2024), and model universality is the main unresolved challenge (Qiu et al., 2026). Gap 4: Time savings and field robustness are rarely measured. Gap 5: No consolidated assessment of which tea parameters one NIR framework can cover, including a clear position on trace residues such as glyphosate.

Table 2: Research gap summary

| Research gap | Evidence from literature | Planned response | RQ | Objective |
| --- | --- | --- | --- | --- |
| G1 No validated moisture model for Sri Lankan black tea | Single-site moisture studies (Zou 2022; Lan 2022; Tao 2026; Kang 2026) | Collect paired Sri Lankan data; validate on held-out samples | RQ1 | O2, O6 |
| G2 Preprocessing and selection effects unknown for this task | Das 2020; Hazarika 2024; Xu 2026 | Compare SNV, MSC, SG; CARS vs SPA/iPLS | RQ2 | O3, O4 |
| G3 Calibration does not guarantee generalisation; AI vs PLSR unresolved | Revilla 2024; Qiu 2026; Zou 2022; Luo 2023 | Identical splits; locked test; leave-one-source-out; paired tests | RQ3 | O5, O6 |
| G4 Time saving and field robustness unmeasured | Qiu 2026; Tao 2026 | Time oven vs NIR; field test with oven subset | RQ4 | O6, O7 |
| G5 No consolidated multi-parameter feasibility evidence | Bai 2022 (uneven accuracy across parameters); Samanthy 2021 (trace glyphosate) | Graded feasibility matrix; extensible model registry | RQ5 | O1, O8 |

## 1.6 Contribution to the body of knowledge

### 1.6.1 Research-domain contribution

The study contributes comparative, held-out evidence on how preprocessing, wavelength selection and model choice (chemometric versus machine learning) affect NIR moisture estimation in Sri Lankan black tea, including cross-source generalisation. It also contributes an evidence-graded synthesis of which tea parameters NIR can estimate, with a reasoned negative position on trace glyphosate.

### 1.6.2 Problem-domain contribution

The practical contribution is a measured comparison of time and accuracy between oven-drying and NIR screening, a reproducible open-source pipeline and prototype, and a roadmap for adding TF:TR, caffeine, polyphenol and sugar models when reference data are available.

## 1.7 Research challenges

Sample variability: cultivar, origin, grade, particle size and storage change spectra.

Narrow moisture range: made tea sits at about 2.5 to 7% moisture, which makes R2 look poor even when error is small, so drying-stage and conditioned samples will widen the range.

Reference consistency: model error cannot be lower than reference error, so oven-drying is done in triplicate under a written procedure.

Spectral noise and drift: addressed through preprocessing, references and control samples.

Missing reference methods for other parameters: only oven and balance are available in-house, so other parameters rely on evidence or a partner laboratory.

## 1.8 Research questions

### RQ1

To what extent can NIR spectral measurements predict the moisture content of Sri Lankan black-tea samples when compared with oven-drying reference measurements on unseen samples?

### RQ2

How do spectral preprocessing (SNV, MSC, Savitzky-Golay filtering) and wavelength selection (CARS) affect the predictive performance of tea moisture models?

### RQ3

Do machine-learning models (SVR, Random Forest, and a neural network where data allow) improve on the PLSR chemometric baseline, and do the models generalise to samples from an unseen source?

### RQ4

To what extent does the NIR approach reduce measurement time compared with oven-drying while remaining accurate under selected practical or field conditions?

### RQ5

Which further parameters (polyphenols, TF:TR, caffeine, sugar, glyphosate) can the same NIR and AI framework estimate according to the evidence, and what would each require?

## 1.9 Research aim

The aim of this research is to design, develop and evaluate a near-infrared spectroscopy and AI framework for the rapid, non-destructive estimation of black-tea quality parameters, validated experimentally on moisture and assessed for extension to polyphenols, TF:TR, caffeine, sugar and glyphosate.

Reference moisture will be established by oven-drying and paired with NIR spectra from Sri Lankan black tea. Preprocessing, wavelength-selection and modelling options will be compared under one validation protocol, evaluated on held-out and source-held-out samples, and tested for speed and practicality in the field. In parallel, a structured evidence synthesis will rate the feasibility of the other parameters.

## 1.10 Research objectives

Table 3: Research objectives

| ID | Objective | RQ |
| --- | --- | --- |
| O1 | Review and critically evaluate research on NIR spectroscopy, chemometrics and AI for tea quality parameters and their reference methods. | All |
| O2 | Collect NIR spectra and oven-drying moisture values from Sri Lankan black-tea samples, retaining sealed subsamples for later reference analysis. | RQ1 |
| O3 | Investigate the effect of SNV, MSC, Savitzky-Golay smoothing and derivatives on moisture prediction. | RQ2 |
| O4 | Investigate wavelength selection (CARS against SPA or interval PLS) for moisture estimation. | RQ2 |
| O5 | Develop and compare PLSR, SVR, Random Forest and an optional neural network on identical data splits. | RQ3 |
| O6 | Evaluate models on held-out and source-held-out samples using RMSEP, R2, RPD and bias, and measure time per measurement. | RQ1, RQ3, RQ4 |
| O7 | Assess field feasibility with a prototype against an oven-checked subset. | RQ4 |
| O8 | Assess and design the extension to polyphenols, TF:TR, caffeine, sugar and glyphosate through a graded feasibility matrix and an extensible model registry. | RQ5 |

## 1.11 Scope, delimitations and assumptions

In scope: NIR diffuse reflectance with a portable 900 to 1700 nm spectrometer; Sri Lankan black tea; the full experimental pipeline for moisture with oven-drying reference; preprocessing, CARS, PLSR, SVR, RF and an optional neural network; held-out, source-held-out and field evaluation; a CLI or Streamlit prototype; and an evidence synthesis and framework design for polyphenols, TF:TR, caffeine, sugar and glyphosate.

Delimitations: experimental models for parameters other than moisture are built only if a partner laboratory supplies reference values; the study does not build hardware, certify results, replace laboratory testing, integrate in-line into a factory, transfer calibrations between instruments, or claim that NIR detects glyphosate at regulatory levels.

Assumptions: triplicate oven-drying gives reliable reference moisture; samples will span enough moisture variation; and a portable NIR spectrometer will be available. Findings will be limited to the teas, season and instrument tested.

## 1.12 Expected outcomes and deliverables

Table 4: Expected outcomes and deliverables

| Deliverable | Expected output | Objective |
| --- | --- | --- |
| Literature review | Thematic, parameter-by-parameter review of 40 included studies | O1 |
| Paired dataset | NIR spectra, oven moisture, metadata and sealed subsamples | O2 |
| Preprocessing and selection evaluation | Comparison tables and selected bands | O3, O4 |
| Predictive models | Tuned PLSR, SVR, RF and optional neural network | O5 |
| Model evaluation | Locked-test, source-held-out and timing results | O6 |
| Prototype and field report | Screening tool with out-of-range warning; field accuracy and usability | O7 |
| Feasibility map and model registry | Graded evidence and extensible design for five further parameters | O8 |
| Research findings | Evidence-based conclusion on rapid NIR and AI tea testing | O6 to O8 |

## 1.13 Chapter summary

This chapter set out the case for rapid tea quality assessment with NIR spectroscopy and AI. Conventional reference methods are slow and parameter-specific, while existing NIR research is strong but fragmented, single-site and rarely measures time saved. The research will validate a NIR and AI framework on moisture in Sri Lankan black tea and map its feasibility for polyphenols, TF:TR, caffeine, sugar and glyphosate. Chapter 2 reviews the literature that shapes these decisions.

# CHAPTER 2: LITERATURE REVIEW

## 2.1 Chapter overview

This chapter critically reviews research on rapid tea quality assessment with NIR spectroscopy and AI. It explains the review strategy and concept map, reviews the problem domain (the measurement task, data challenges and standards), and then reviews the technology stage by stage along the proposed pipeline: acquisition, preprocessing, wavelength selection, modelling, robustness, interpretation and training strategy. A thematic analysis compares the evidence parameter by parameter, followed by reviews of available datasets and evaluation practice. The chapter closes with a synthesis, the research positioning and the conceptual architecture.

## 2.2 Review strategy and concept map

### 2.2.1 Literature search and selection strategy

Searches covered Google Scholar, ScienceDirect, MDPI, SpringerLink, PubMed Central, RSC, IOP, Scopus and Crossref, plus Sri Lankan proceedings (iPURSE, ISAE, RESCON). Concept blocks were combined with AND and synonyms with OR, for example: (tea OR "Camellia sinensis") AND (moisture OR caffeine OR theaflavin* OR polyphenol* OR sucrose OR glyphosate) AND ("near infrared" OR NIR) AND (PLSR OR "machine learning" OR chemometric*). The date range was mainly 2016 to 2026, with seminal methods (Roberts and Smith, 1961) included.

Studies were included if they reported quantitative spectroscopic results for tea, food or agricultural quality, or defined a tea reference method; comparable matrices (feed, herbal tea, powders) were included where tea evidence was thin. Medical NIR, unrelated domains and opinion pieces were excluded. Screening ran in layers (title, abstract, full text, quality check, then backward and forward snowballing). Of 45 records (34 from the author's survey and 11 from a targeted search for caffeine, TF:TR, polyphenols, sugar and glyphosate), 5 were excluded and 40 retained. The full log is in Appendix A and the survey matrix in Appendix C.

### 2.2.2 Concept map

Figure 1: Concept map linking tea parameters, NIR principles, the analysis pipeline and the research gap

Figure 1 shows the logic of the review: slow reference methods and industry need define the parameters of interest; NIR reaches them through bond overtones but meets physical limits; the analysis pipeline (preprocessing, selection, models, validation) determines whether the signal becomes a reliable estimate; and the recurring weaknesses in the literature define the gap Tea Sense addresses.

## 2.3 Problem-domain review

### 2.3.1 Domain task and decision context

The target task is to estimate a continuous parameter (moisture %, and later TF:TR, caffeine or polyphenols) from one spectrum of a tea sample, or to classify a sample as adulterated. Inputs are the spectrum, sample metadata and, for training only, laboratory reference values. The decision being supported differs by user: a dryer operator decides whether to continue drying; a quality officer decides whether a lot meets specification; a broker or the Tea Board decides whether a lot needs laboratory testing for adulteration.

Errors are asymmetric. Under-predicting moisture could let tea with mould risk be stored or shipped, while over-predicting could trigger needless re-drying, which damages aroma and loses weight. A false negative for added sugar lets adulterated tea pass. For this reason the system is positioned as screening with human review: values near specification limits or spectra outside the calibration space are flagged for laboratory confirmation, and the laboratory remains the authority (Hazarika et al., 2017; Qiu et al., 2026).

Table 5: Decisions supported and the cost of errors

| User | Decision | Cost of a high prediction | Cost of a low prediction | Human review |
| --- | --- | --- | --- | --- |
| Dryer operator | Continue or stop drying | Unneeded re-drying; aroma and weight loss | Under-dried tea stored; mould risk | Values near limit sent to laboratory |
| Factory QC officer | Release lot to sorting or packing | Good lot held back | Out-of-specification lot released | Flagged spectra confirmed by oven |
| Broker or Tea Board | Send lot for adulteration testing | Extra laboratory cost | Adulterated lot passes (sugar) | Positive screens confirmed by HPLC |
| Researcher | Accept or reject a model | False confidence in a weak model | Discarding a useful model | Locked test and supervisor review |

### 2.3.2 Data and operational challenges

Narrow target range. Made tea moisture lies in a narrow band, so a model can show a low R2 even with small errors. Methodological implication: widen the calibration range with drying-stage and conditioned samples and report RMSEP and RPD alongside R2. Sample heterogeneity. Particle size and packing change scatter (Scheibelhofer et al., 2016). Implication: repacked triplicate scans and scatter correction. Source and season effects. Polyphenols vary by month and drying technique in Sri Lankan cultivars (Piyasena et al., 2026), and models often fail across varieties and regions (Qiu et al., 2026). Implication: record source metadata and test on a held-out source. Reference error. Oven-drying measures all volatiles at 103 C and has its own repeatability limit. Implication: triplicate references and an explicit error floor. Small datasets. Most tea studies have 60 to 300 samples (Andasuryani et al., 2024; Zou et al., 2022), far fewer than the number of wavelengths, causing over-fitting (Liu et al., 2024). Implication: PLSR baseline, wavelength selection and nested cross-validation. Moisture change. Tea exchanges moisture with air between scanning and drying. Implication: sealed bags and a short, fixed time window. No local reference data for other parameters. Implication: evidence synthesis and retained subsamples for later analysis.

### 2.3.3 Standards, regulations and professional expectations

ISO 1573 defines moisture as loss in mass at 103 C to constant mass and is the basis of the reference method. ISO 14502-1 and 14502-2 define Folin-Ciocalteu polyphenols and HPLC catechins, and the Roberts and Smith (1961) method remains the reference for TF and TR. ISO 3720 sets black-tea requirements, and importing markets apply pesticide maximum residue limits at trace levels, which is why glyphosate requires LC-MS/MS (Samanthy et al., 2021). The Sri Lanka Tea Board tests auction samples and acts against adulteration (Daily Mirror, 2018). For this project these standards mean that NIR outputs must be reported as screening estimates traceable to the standard reference methods, never as certified results, and that claims about residue safety must not be made from NIR.

## 2.4 Technological review by implementation stage

Each stage below compares realistic alternatives, states the selection criteria and explains the effect on later stages. The table summarises the choices.

Table 6: Summary of pipeline-stage choices

| Stage | Alternatives | Criteria | Selected | Effect on later stages |
| --- | --- | --- | --- | --- |
| Acquisition | Benchtop FT-NIR; portable InGaAs; in-line; UV-Vis, FTIR, THz, LIBS, HSI | Water sensitivity; portability; cost; tea evidence | Portable 900 to 1700 nm reflectance | Shorter range raises the importance of preprocessing |
| Preprocessing and QC | SNV, MSC, SG, derivatives, EMSC, wavelets | Evidence; simplicity; interpretability | Factorial comparison inside CV | Defines the space for selection |
| Wavelength selection | CARS, SPA, iPLS, Random Frog, VISSA, VCPA-IRIV, mRMR | Tea evidence; availability; stability | CARS plus SPA or iPLS | Fewer variables; simpler sensors |
| Modelling | PLSR, SVR, RF, ELM, XGBoost, ANN, CNN, BiGRU | Small-data accuracy; over-fitting risk | PLSR baseline; SVR, RF; optional NN | Needs identical splits and budgets |
| Robustness | Random split; KS; chronological; LOSO; T2/Q flags; conformal | Honest error; safety | KS locked test, LOSO, T2/Q, bootstrap intervals | Defines reported error |
| Interpretation and output | Coefficients, VIP, bands; raw value; dashboard | Chemical meaning; operator clarity | VIP and bands; value, interval, flag, label | Reduces over-reliance |
| Training strategy | Grid, random, Bayesian, metaheuristic search | Fairness; reproducibility | Nested CV with bounded grids | Prevents tuning leakage |

### 2.4.1 Spectral acquisition and sensing technology

Options include benchtop FT-NIR (Bruker MPA, Thermo Antaris II, Foss 5000, Buchi N-500), portable InGaAs units covering 900 to 1700 nm (NIR-S-G1, NIR-S-R2, NIR-R210, IAS-3100) and in-line analysers (Tao et al., 2026). Benchtop units cover up to 2500 nm, including the strong 1940 nm water band, but cost more and stay in the laboratory. Portable units reach the 970 and 1450 nm water bands and have predicted tea moisture, polyphenols, sugar and adulterants (Zou et al., 2022; Lan et al., 2022; Xu et al., 2023; Tang et al., 2025). Other technologies were rejected as the primary sensor: terahertz is blocked by water (Huang et al., 2024), LIBS is destructive (Zhao et al., n.d.), FTIR-ATR and UV-Vis require preparation (Damayanthi et al., 2025; 2026), and hyperspectral imaging is costly (Qiu et al., 2026). Selection criteria: water sensitivity, portability, cost and tea evidence. Choice: portable 900 to 1700 nm diffuse reflectance with three repacked scans. Effect on later stages: a shorter range and noisier signal make preprocessing and wavelength selection more important.

### 2.4.2 Preprocessing and quality control

SNV and MSC correct multiplicative scatter, SG smoothing reduces noise, and SG first and second derivatives remove baseline offsets and sharpen overlapping bands (Qiu et al., 2026). Their effect is large: preprocessing raised class separability from 53.63 to 93.20 (Das et al., 2020), and SNV with SG derivatives preceded the best CARS-PLSR model for a polyphenol ratio (Xu et al., 2026). The best combination varies by task: Zou et al. (2022) compared SNV, MSC, SG and Z-score for moisture, while Hazarika et al. (2024) compared SNV, MSC and derivatives for CTC quality. Quality control commonly uses PCA with Hotelling T2 and Q-residuals. Choice: a systematic comparison of raw, SNV, MSC, SG and derivatives under fixed PLSR, fitted inside cross-validation. Effect: the chosen preprocessing defines the space in which wavelengths are selected.

### 2.4.3 Wavelength selection and feature extraction

Full spectra contain many correlated, uninformative variables. CARS iteratively keeps wavelengths with large PLS coefficients and selected few wavelengths with strong performance for CTC tea (Hazarika et al., 2024), moisture in feed (Huang et al., 2022) and a polyphenol ratio (Xu et al., 2026). Alternatives include SPA, interval PLS, Random Frog, VISSA (An et al., 2025), VCPA-IRIV (Luo et al., 2023), mRMR (Tao et al., 2026) and PCA. CARS is stochastic, so repeated runs and selection frequency are needed. Choice: CARS with SPA or iPLS as comparator, checked against known water bands. Effect: fewer wavelengths reduce over-fitting and point towards cheaper multi-band sensors.

### 2.4.4 Core modelling approach

PLSR is the baseline in nearly every study because it handles many collinear wavelengths with few samples. Non-linear models often help: grey-wolf-optimised SVR beat PLS for black-tea moisture (Zou et al., 2022), an optimised Elman network beat PLSR and SVR in green-tea fixation (Lan et al., 2022), ELM beat PLS for catechins (Liu et al., 2024), ELM with AdaBoost predicted TF:TR (Dong et al., 2017), and SVR beat PLSR for added sucrose (Luo et al., 2023). Deep networks performed well with thousands of spectra (Tao et al., 2026; Kang et al., 2026; Tang et al., 2025). The gains shrink at a few hundred samples.

Choice: PLSR baseline, SVR and RF as candidates, a small neural network only above about 150 samples, one model per parameter on a shared spectrum.

Effect: fair comparison needs identical splits and tuning budgets.

### 2.4.5 Reliability, uncertainty and robustness

Calibration results overstate performance (Revilla et al., 2024), perfect classification on modest datasets may be over-optimistic (Guo et al., 2025), and models degrade across varieties, regions and environments (Qiu et al., 2026). Robust practice includes a locked independent test set, chronological or source-based splits (Tao et al., 2026), repeat-scan repeatability, drift control with reference samples, and flagging spectra outside the calibration space (Hotelling T2 or Q-residuals).

Choice: Kennard-Stone locked test set, leave-one-source-out testing, out-of-range flags and bootstrap prediction intervals.

Effect: produces honest error estimates and safe outputs.

### 2.4.6 Interpretability and output presentation

NIR models are interpreted through regression coefficients, VIP scores and selected wavelengths, which can be checked against known chemistry, such as water bands near 970 and 1450 nm. Studies rarely report how results are shown to operators.

Choice: report selected bands and VIP plots for scientific interpretation, and give operators a single value with a status, a range flag and the label "screening estimate".

Effect: links model behaviour to chemistry and reduces over-reliance.

### 2.4.7 Training strategy and hyperparameter optimisation

Studies tune PLS latent variables by cross-validation and optimise SVR or neural networks with grid search or metaheuristics such as grey wolf (Zou et al., 2022), whale optimisation (Lan et al., 2022) or binary particle swarm (Bai et al., 2022). Metaheuristics can over-fit small datasets if tuned on the same data used for evaluation.

Choice: nested or repeated 10-fold cross-validation inside the calibration set, bounded grid search, and one-standard-error rules for latent variables; the test set is never used for tuning.

Effect: keeps the comparison fair and reproducible.

## 2.5 Existing work: thematic analysis

### Theme 1: Moisture is the strongest and most mature NIR target

All moisture studies reviewed report usable models because water absorbs strongly in the NIR. Zou et al. (2022) modelled 305 spectra across black-tea processing stages with a 77 g spectrometer; Bai et al. (2022) reached Rp 0.971 in instant tea; An et al. (2025) and Lan et al. (2022) added machine vision; Tao et al. (2026) monitored a white-tea line with 17,856 observations; and Kang et al. (2026) covered 0 to 80% moisture with 1,505 spectra. Andasuryani et al. (2024) showed a simple PLS with oven reference on 60 herbal-tea samples. The studies agree on feasibility but disagree on the need for non-linear models, which win mainly on large datasets.

Contradiction: high reported accuracy coexists with single-site data.

Implication: moisture is the right experimental core, with PLSR as baseline and cross-source testing.

Table 7: Comparison of NIR moisture studies

| Study | Product and setting | Samples | Instrument and range | Preprocessing and selection | Best model | Validation |
| --- | --- | --- | --- | --- | --- | --- |
| Zou et al. (2022) | Black tea, all processing stages, one cultivar | 305 spectra | Micro-NIR 900 to 1700 nm | SNV, MSC, SG, Z-score | GWO-tuned SVR beat PLS | Split within one cultivar |
| Lan et al. (2022) | Green-tea fixation, one site | Series every 25 s | NIR-S-R2 900 to 1700 nm + images | SNV; fusion | WOA-Elman beat PLSR, SVR | Within one run |
| An et al. (2025) | Black-tea withering, controlled | Hourly series | IAS-3100 900 to 1700 nm + images | VISSA; fusion | SVR with fusion | Within one harvest |
| Bai et al. (2022) | Instant tea | 118 samples | NIR | BPSO selection | BPSO-SVR, Rp 0.971 | Calibration/validation split |
| Andasuryani et al. (2024) | Gambir herbal tea powder | 60 (40/20) | Buchi N-500 1000 to 2500 nm | Absorbance | PLS | External 20 samples |
| Tao et al. (2026) | White-tea line, one season | 17,856 observations | MS-580 940 to 1550 nm | MSC; mRMR | Attention BiGRU | Chronological, two test sets |
| Kang et al. (2026) | Withering, lab plus online | 1,505 spectra | ATP8600, 0 to 80% moisture | Adaptive sampling | TSNet (GRU, attention, CNN) | Lab and online |
| Huang et al. (2022) | Cattle feed | 108 (2:1) | Handheld NIR 900 to 1700 nm + THz | Derivative, SG; CARS | PLSR with fusion | Calibration/validation split |

The comparison shows the pattern behind the gap: every study validates within a single product setting, and none uses Sri Lankan made tea, reports time saved against oven-drying, or holds out a whole source. Larger studies use deep models; smaller ones rely on PLSR or SVR, which matches the expected Tea Sense sample size.

### Theme 2: Phenolic quality (polyphenols, catechins and TF:TR) is feasible but harder

Dong et al. (2017) predicted TF:TR, catechins and the polyphenol to amino-acid ratio with RPD above 2.5; Zareef et al. (2018) and Hazarika et al. (2024) predicted theaflavins in black tea; Zou et al. (2025) predicted TF, TR and theabrownins during rolling. For polyphenols, Xu et al. (2026) reached R2p 0.98 for a ratio, but Bai et al. (2022) obtained only Rp 0.795 for total polyphenols in instant tea from the same spectra that gave Rp 0.971 for moisture, and Liu et al. (2024) attributed difficulty to overlapping catechin bands.

Contradiction: results range from excellent to moderate depending on matrix and target.

Implication: TF:TR is the most promising extension; polyphenols need non-linear models and good reference data.

### Theme 3: Caffeine and multi-parameter estimation from one spectrum

Caffeine models are consistently strong: Rehman et al. (2020) reported external RMSEP 0.08 ppm and r2 0.97 against HPLC, and Bai et al. (2022) reached Rp 0.976. Zareef et al. (2018), Chen et al. (2018) and Bai et al. (2022) all derived several parameters from one spectrum. Rehman et al. (2020) measured liquid solutions rather than leaf, limiting transfer. Implication: a shared-spectrum, parameter-specific architecture is supported, but each parameter needs its own validated model.

### Theme 4: Adulteration and safety (sugar and glyphosate)

Luo et al. (2023) quantified added sucrose in black tea with NIR (Rp 0.924, RPD 2.51), with SVR beating PLSR. Damayanthi et al. (2025; 2026) detected sugar in Sri Lankan tea with FTIR and UV-Vis, and Tang et al. (2025) detected colourants at 0.1 to 0.5 g/kg with a handheld NIR and a deep network. Piyasena et al. (2022) cautioned that natural sugars vary, complicating thresholds. Glyphosate is different: it is regulated at mg/kg, the Sri Lankan LC-MS/MS method has an LOQ of 1.8 mg/kg (Samanthy et al., 2021), and no tea study reports NIR glyphosate detection; even metals are predicted only indirectly (Revilla et al., 2024).

Implication: sugar is a feasible screening target; glyphosate needs a different rapid technology.

### Theme 5: Generalisation and deployment

Most studies use random splits within one cultivar and site; few test across sources, seasons or instruments (Qiu et al., 2026; Guo et al., 2025). Portable devices are proven in the laboratory (Li et al., 2023; Tang et al., 2025), and in-line systems exist (Tao et al., 2026), but time per measurement and field accuracy are rarely reported.

Implication: Tea Sense must report cross-source and field results and measure time saved.

Table 8: Parameter feasibility matrix derived from the thematic analysis

| Parameter | NIR signal | Key evidence | Best reported | Reference needed | Verdict |
| --- | --- | --- | --- | --- | --- |
| Moisture | Direct, strong (O-H water bands) | Zou 2022; Lan 2022; Bai 2022; Tao 2026; Kang 2026 | Rp 0.971 (Bai 2022) | Oven-drying (available) | Experimental core |
| Caffeine | Direct (C-H, N-H), percent level | Rehman 2020; Bai 2022; Zareef 2018 | Rp 0.976 (Bai 2022); r2 0.97 (Rehman 2020) | HPLC (partner) | High; extension |
| TF, TR, TF:TR | Phenolic bands, percent level | Dong 2017; Zareef 2018; Zou 2025; Hazarika 2024 | RPD above 2.5, R above 0.9 (Dong 2017) | Roberts and Smith (partner) | High; priority extension |
| Polyphenols, catechins | Overlapping phenolic bands | Bai 2022; Liu 2024; Xu 2026; Xu 2023 | R2p 0.98 for TP/FAA (Xu 2026); Rp 0.795 (Bai 2022) | Folin-Ciocalteu or HPLC (partner) | Medium to high; non-linear models |
| Added sugar | C-H, O-H bands of sucrose | Luo 2023; Damayanthi 2025, 2026; Tang 2025 | Rp 0.924, RPD 2.51 (Luo 2023) | Spiked samples plus HPLC | Medium; screening classifier first |
| Glyphosate | None at mg/kg | Samanthy 2021; Revilla 2024; Qiu 2026 | No NIR evidence in tea | LC-MS/MS | Not feasible by NIR; SERS or strip test |

## 2.6 Dataset review and comparison

No public dataset of Sri Lankan black-tea NIR spectra with reference values exists. Datasets in the reviewed tea studies are mostly available only on request, recorded on different instruments and ranges, and drawn from Chinese, Indian or Spanish teas. They are therefore useful for benchmarking ranges and sample sizes but cannot be merged into training. The public Tecator NIR dataset (Borggaard and Thodberg, 1992) is used only as a surrogate to test the pipeline (Section 3.13).

Table 9: Comparison of datasets in reviewed studies and the planned Tea Sense dataset

| Source | Access | Samples | Structure and range | Labels | Limitations | Planned role |
| --- | --- | --- | --- | --- | --- | --- |
| Zou et al. (2022) | On request | 305 spectra | Micro-NIR 900 to 1700 nm | Oven moisture | One cultivar | Benchmark design |
| Lan et al. (2022) | On request | Fixation series | NIR-S-R2 900 to 1700 nm + images | Moisture | One site and run | Benchmark |
| Tao et al. (2026) | Not public | 17,856 observations | MS-580 940 to 1550 nm | Moisture | White tea, one season | Split design |
| Kang et al. (2026) | Not public | 1,505 spectra | ATP8600, 0 to 80% moisture | Moisture | Controlled lab | Benchmark |
| Bai et al. (2022) | On request | 118 samples | NIR, instant tea | Moisture, caffeine, polyphenols, polysaccharides | Instant tea | Multi-parameter benchmark |
| Revilla et al. (2024) | Paper only | 322 samples | Foss 1000 to 2498 nm | Metals, blends | Indirect metal signal | Validation lesson |
| Tecator (public) | Open (OpenML 505) | 240 meat spectra | Infratec 850 to 1050 nm transmission | Moisture, fat, protein | Not tea | Pipeline proof of concept only |
| Tea Sense (planned) | Primary, controlled | Target 120 (minimum 80) | Portable 900 to 1700 nm reflectance | Oven moisture (triplicate) | One season and instrument | Training and evaluation |

## 2.7 Evaluation and benchmarking review

Splitting protocols. Random splits dominate; Kennard-Stone or SPXY splits are used to cover spectral space; Tao et al. (2026) used a chronological split, the strongest guard against leakage. Few studies hold out a whole source. Baselines. PLSR is the universal baseline; mean-only baselines are rarely reported but are needed to interpret RPD. Performance metrics. RMSEC, RMSECV and RMSEP, R2 (or correlation R), and RPD are standard; RPD above 2.5 is generally treated as good for quantification and above 3 as excellent. Bias is seldom reported despite mattering for sale weight. Reliability. Repeat-scan standard deviation and calibration-to-validation gaps are the main reliability measures. Robustness. Cross-source, cross-season and field testing is rare (Qiu et al., 2026). Efficiency. Measurement time is claimed as "rapid" but rarely quantified; even Rehman et al. (2020) report only the HPLC run time. Statistical uncertainty. Most studies report single-split point estimates without confidence intervals or significance tests.

Table 10: Common interpretation of RPD in NIR studies

| RPD | Interpretation | Use for Tea Sense |
| --- | --- | --- |
| Below 1.5 | Not usable | Model rejected |
| 1.5 to 2.0 | Distinguishes high from low values only | Coarse screening at best |
| 2.0 to 2.5 | Approximate quantification | Minimum acceptable |
| 2.5 to 3.0 | Good quantification | Target |
| Above 3.0 | Excellent | Stretch goal |

Implication: Tea Sense will report RMSEC, RMSECV, RMSEP, R2p, RPD and bias against a mean-only and a PLSR baseline, use a locked Kennard-Stone test set plus leave-one-source-out testing, apply paired Wilcoxon tests and bootstrap confidence intervals, and measure time per sample directly.

## 2.8 Synthesis and final research positioning

Established: NIR reliably estimates moisture and, with more effort, caffeine, TF:TR and polyphenols; preprocessing and wavelength selection matter; non-linear models can beat PLSR, especially with more data; portable devices work.

Unresolved: performance on Sri Lankan black tea; generalisation across sources; time saved and field accuracy; and a consolidated view of which parameters one framework can cover.

Why these methods: oven-drying is the accepted reference and is available; PLSR, SVR and RF match the expected sample size; CARS is proven for tea; locked and source-held-out tests answer the generalisation gap.

Table 11: Positioning against the closest studies

| Study | What it did | How Tea Sense differs |
| --- | --- | --- |
| Zou et al. (2022) | Black-tea moisture, micro-NIR, one cultivar | Sri Lankan tea, several sources, cross-source and field tests, time measured |
| Bai et al. (2022) | Four parameters from one spectrum, instant tea | Leaf black tea; graded feasibility including sugar and glyphosate |
| Dong et al. (2017) | TF:TR and catechins during fermentation | Treats TF:TR as a priority extension in a shared framework |
| Tao et al. (2026) | In-line deep model, white tea, one season | Portable, low-cost, small-data methods with honest baselines |
| Luo et al. (2023) | Added sucrose in black tea | Places sugar screening within a multi-parameter roadmap |

## 2.9 Proposed conceptual architecture

Figure 2: Tea Sense conceptual architecture

Figure 2 shows the shared-spectrum design that follows from the review. A tea sample is scanned once with a portable NIR spectrometer, preprocessed once, and passed to a registry of parameter-specific models. The moisture model is built and tested in this project. Polyphenols, TF:TR, caffeine and sugar models are added when reference data from a partner laboratory are available, as the evidence in Section 2.5 supports their feasibility. Glyphosate is routed to a separate rapid residue test, because NIR cannot see it. Oven-drying and laboratory methods remain the ground truth for training, validation and flagged samples. Each output carries a value, a calibration-range flag and a screening label. The detailed architecture and data flow are in Appendix I.

## 2.10 Chapter summary

The review shows that NIR with AI is well proven for moisture, promising for caffeine, TF:TR and polyphenols, emerging for added sugar and unsuitable for trace glyphosate. Preprocessing, wavelength selection, model choice and validation design all strongly affect results, and most evidence is single-site, non-Sri Lankan and silent on time saved. Tea Sense is therefore positioned as a shared-spectrum framework validated on moisture with honest generalisation testing and a graded feasibility map for other parameters.

# CHAPTER 3: RESEARCH, TECHNICAL AND PROJECT METHODOLOGY

## 3.1 Chapter overview

This chapter explains how the research questions will be answered. It sets out the research philosophy using Saunders' Research Onion, the experimental design and hypotheses, and the technical pipeline stage by stage. It then covers requirements engineering, system design, data management, development methodology and the evaluation methodology, followed by project management, resources, risks and a preliminary proof of concept.

## 3.2 Research methodology using Saunders' Research Onion

Table 12: Research Onion justification

| Layer | Choice | Justification against the research questions |
| --- | --- | --- |
| Philosophy | Positivism (pragmatism for the prototype) | RQ1 to RQ4 concern objectively measurable error against a reference method |
| Approach | Deductive | Hypotheses H1 to H5 are derived from the literature and tested |
| Methodological choice | Quantitative, supported by structured evidence synthesis | Spectra and reference values are numerical; RQ5 parameters lack in-house reference data, so evidence is graded |
| Strategy | Experiment (moisture) and systematic review (other parameters) | Controlled comparison of preprocessing, selection and models; evidence grading for RQ5 |
| Time horizon | Cross-sectional | One collection season within one academic year; seasonal effects stated as a limitation |
| Techniques | Gravimetric reference, NIR acquisition, statistical modelling, evidence matrix, SUS questionnaire | Standard NIR practice; SUS supports RQ4 usability |

## 3.3 Research design and hypotheses

Independent variables: preprocessing (raw, SNV, MSC, SG, derivatives), wavelength set (full, CARS, SPA/iPLS), model (PLSR, SVR, RF, optional neural network), and measurement setting (laboratory, field).

Dependent variables: RMSEP, R2p, RPD, bias, time per measurement, repeat-scan SD and SUS.

Baselines: mean-only and PLSR on raw spectra.

Ablations: remove preprocessing, selection or the non-linear model from the best pipeline.

Confounders and controls: sample source (stratified split and LOSO), scanning order (randomised), instrument drift (white and dark references, control sample), time between scan and drying (fixed window), and operator (single trained operator).

Table 13: Hypotheses

| ID | Hypothesis | RQ |
| --- | --- | --- |
| H1 | NIR moisture models reach R2p of at least 0.90 and RPD of at least 2.5 on held-out Sri Lankan black tea. | RQ1 |
| H2 | Scatter-corrected and smoothed spectra give lower RMSECV than raw spectra; CARS matches the full spectrum with fewer variables. | RQ2 |
| H3 | At least one machine-learning model beats PLSR on the locked test set (paired Wilcoxon, p < 0.05), and LOSO RMSEP stays within 1.5 times the test RMSEP. | RQ3 |
| H4 | NIR reduces measurement time from about 6 h to under 60 s per sample, with field RMSEP within 1.5 times laboratory RMSEP. | RQ4 |
| H5 | Evidence supports NIR feasibility for caffeine, TF:TR and polyphenols, partial feasibility for sugar, and not for glyphosate. | RQ5 |

## 3.4 Proposed technical methodology and implementation pipeline

### 3.4.1 Sample acquisition, data ingestion and governance

| Aspect | Detail |
| --- | --- |
| Inputs | Black-tea samples from several Sri Lankan sources and grades; drying-stage and humidity-conditioned samples |
| Processing | Assign coded IDs; log source, grade, stage, date, temperature and humidity; seal; scan three times with repacking after white and dark references; oven-dry 3 to 5 g in triplicate at 103 C to constant mass; seal a retained subsample |
| Alternatives | Retail-only samples; single-scan protocol; halogen analyser reference |
| Selected | Mixed sources with triplicate scans and triplicate oven reference |
| Outputs | Raw spectra files, mass log, metadata form, retained subsamples |
| Testing | Pilot of 10 to 15 samples checks repeatability and drying time |
| Fallback | Retail teas of several grades if suppliers withdraw |

### 3.4.2 Data quality assessment

| Aspect | Detail |
| --- | --- |
| Inputs | Raw spectra and reference triplicates |
| Processing | Check replicate SD (at most 0.2%); PCA with Hotelling T2 and Q-residuals; control-sample drift check; moisture histogram |
| Alternatives | Visual inspection only; robust PCA |
| Selected | Rule-based QC with logged exclusions |
| Outputs | Clean dataset v2 and QC report |
| Testing | Re-run QC script on raw data reproduces the same exclusions |
| Fallback | Re-scan or re-dry flagged samples |

### 3.4.3 Pre-processing

| Aspect | Detail |
| --- | --- |
| Inputs | Averaged spectra (calibration set only for fitting) |
| Processing | Raw, SNV, MSC, SG smoothing (window 7 to 21, order 2), SG first and second derivatives, and combinations, inside cross-validation |
| Alternatives | EMSC, detrending, wavelet denoising |
| Selected | Factorial grid of the standard methods |
| Outputs | RMSECV table per preprocessing |
| Testing | Fixed PLSR and folds for fair comparison |
| Fallback | Raw mean-centred spectra if no method helps |

### 3.4.4 Baseline construction

| Aspect | Detail |
| --- | --- |
| Inputs | Calibration set |
| Processing | Mean-only predictor; PLSR on raw mean-centred spectra with latent variables chosen by RMSECV (one-standard-error rule) |
| Alternatives | MLR on selected bands |
| Selected | Mean-only (floor) and PLSR (strong chemometric baseline) |
| Outputs | Baseline RMSEP, R2p, RPD |
| Testing | Same locked test set as all candidates |
| Fallback | Not applicable |

### 3.4.5 Proposed model and system

| Aspect | Detail |
| --- | --- |
| Inputs | Preprocessed spectra (full or selected bands) |
| Processing | CARS (repeated runs) and SPA/iPLS; PLSR, SVR (RBF; C, gamma, epsilon), RF (trees, depth, features); optional small neural network above about 150 samples; one model per parameter in a registry sharing preprocessing |
| Alternatives | XGBoost, ELM, 1D-CNN, BiGRU |
| Selected | PLSR, SVR, RF, optional neural network |
| Outputs | Tuned, saved pipelines |
| Testing | Nested CV; locked test; paired Wilcoxon against PLSR |
| Fallback | PLSR alone if non-linear models do not beat it |

### 3.4.6 Reliability, uncertainty and robustness component

| Aspect | Detail |
| --- | --- |
| Inputs | Trained models and new spectra |
| Processing | Hotelling T2 and Q-residual limits from calibration data; bootstrap prediction intervals; LOSO testing; repeat-scan SD |
| Alternatives | Conformal prediction; Gaussian process regression |
| Selected | T2/Q flags with bootstrap intervals |
| Outputs | Prediction with interval and out-of-range flag |
| Testing | Flag rate on test and field data; interval coverage |
| Fallback | Range flag only |

### 3.4.7 Output, explanation and presentation component

| Aspect | Detail |
| --- | --- |
| Inputs | Prediction, interval, flag, selected bands |
| Processing | CLI and Streamlit prototype showing value, interval, status and "screening estimate" label; VIP and band plots for analysts |
| Alternatives | Mobile app; notebook only |
| Selected | CLI first, Streamlit if time allows |
| Outputs | Prototype and reports |
| Testing | Field trial with SUS questionnaire |
| Fallback | CLI only |

### 3.4.8 Reproducibility and experiment tracking

| Aspect | Detail |
| --- | --- |
| Inputs | Code, configuration, data versions |
| Processing | Git for code; MLflow or CSV logs for runs; fixed seeds; pinned library versions; read-only raw data; hashed test set |
| Alternatives | Weights and Biases; DVC |
| Selected | Git with MLflow or CSV logs |
| Outputs | Traceable results |
| Testing | Clean re-run reproduces reported metrics |
| Fallback | Structured CSV logging only |

## 3.5 Requirements engineering

### 3.5.1 Stakeholder analysis

Figure 3: Stakeholder influence and interest

The supervisor, examiners and sample suppliers have high influence and high interest and are managed closely: supplier withdrawal is a key data risk. The ethics committee and a partner laboratory have influence over what can be done but less day-to-day interest and are kept satisfied through early approval and clear requests. Factory QC staff, dryer operators, brokers and the Tea Board are the eventual beneficiaries; their main risk is over-reliance on predictions, so they are kept informed and involved in the field test. The full stakeholder onion is in Appendix F.

### 3.5.2 Requirement elicitation and evidence

Requirements were derived from four sources: the literature (Chapter 2), standards and reference methods (ISO 1573, ISO 14502, Roberts and Smith), industry context (Tea Board actions and export data), and the pilot study. Each requirement traces to a gap, objective or risk. Short informal discussions with a tea technologist and field-test users are planned to validate usability requirements; these involve human participants and will take place only after ethics approval (Appendix N). Instruments are in Appendix F.

### 3.5.3 Functional and non-functional requirements

Table 14: Key requirements (MoSCoW); full specification in Appendix G

| ID | Priority | Requirement | Verification method | Traceability |
| --- | --- | --- | --- | --- |
| FR01 | Must | Acquire referenced spectra, three scans per sample | Inspection of raw files | O2, G1 |
| FR02 | Must | Record triplicate oven moisture and test time | Mass log audit | O2, O6 |
| FR03 | Must | Configurable preprocessing inside CV | Unit test; leakage test | O3, G2 |
| FR04 | Must | Lock and hash test set before modelling | Hash check | O6, G3 |
| FR05 | Must | CARS plus comparator selection | Experiment log | O4, G2 |
| FR06 | Must | Train PLSR, SVR, RF on identical splits | Run log | O5, G3 |
| FR07 | Must | Model registry, one model per parameter | Code review; add mock parameter | O8, G5 |
| FR08 | Must | Predict with out-of-range flag | Test with spiked out-of-range spectra | O7 |
| FR09 | Should | Retain sealed subsamples | Sample log | O8 |
| FR10 | Could | Neural model if about 150+ samples | Run log | O5 |
| NFR01 | Must | R2p at least 0.90, RPD at least 2.5 | Locked-test evaluation | H1 |
| NFR02 | Must | Under 60 s per sample | Timed trials | H4 |
| NFR03 | Must | Fully reproducible | Clean re-run | Integrity |
| NFR04 | Must | Screening label; no personal data | UI review; data audit | Chapter 4 |
| NFR05 | Should | SUS at least 68 | Questionnaire | O7 |

## 3.6 System and software design

The system has five components: an acquisition module (spectrometer export and metadata form), a data store (read-only raw files, versioned clean dataset), an analysis pipeline (QC, preprocessing, selection, training, evaluation, built on scikit-learn pipelines so that fitting happens only on calibration data), a model registry (one saved pipeline per parameter with its validation record and calibration limits), and a prototype (CLI, then Streamlit) that loads a new spectrum, applies the registry and returns values, intervals and flags. The main use cases are register sample, calibrate spectrometer, scan, record oven reference, train and evaluate, predict, review flagged result and export report. The context and use-case diagrams are in Appendix H and the component and data-flow diagrams in Appendix I.

## 3.7 Data requirements and management plan

Table 15: Dataset plan

| Item | Plan |
| --- | --- |
| Role | Primary paired dataset for training and evaluation; Tecator only for pipeline testing |
| Schema | sample_id, source_code, grade, stage, date, temp_C, RH_pct, scan_1..3 (absorbance per wavelength), moisture_rep_1..3, moisture_mean, oven_minutes, retained_subsample |
| Split strategy | About 70:30 Kennard-Stone calibration and locked test; leave-one-source-out where at least three sources exist |
| Sample-level separation | All scans and replicates of one sample stay in the same set |
| Storage and backup | Raw data read-only; two cloud backups plus local copy |
| Versioning | Data versions hashed; derived data produced by scripts; Git for code |
| Retention | Data kept until degree award plus one year, then anonymised dataset archived |
| Licensing and ethics | Supplier consent; coded sources; no personal data; Tecator used under its stated terms with instrument acknowledged |

## 3.8 Development methodology

An iterative CRISP-DM-style approach was chosen over Waterfall, which assumes fixed requirements, and full Scrum, which adds ceremony unsuited to a single developer. Each two-week iteration adds one pipeline component (for example, a preprocessing method), evaluates it by cross-validation and records the result. Definition of done: code committed, unit and leakage tests pass, results logged, and the supervisor update written. Testing: unit tests for preprocessing functions, a leakage test confirming the test set is untouched, and an end-to-end re-run. Change control: any change to the protocol or scope is agreed with the supervisor and logged; changes affecting participants or data are cleared with ethics first.

## 3.9 Evaluation methodology

### 3.9.1 Dataset splits and validation protocol

The test set (about 30%) is selected by Kennard-Stone, checked to span the moisture range, hashed and locked before any modelling. All preprocessing, wavelength selection and tuning are fitted inside nested or repeated 10-fold cross-validation on the calibration set using scikit-learn pipelines, and the test set is used once per shortlisted pipeline. Replicate scans of a sample never cross sets. Where at least three sources exist, leave-one-source-out validation measures generalisation. No tuning ever uses test or field data.

### 3.9.2 Baselines and ablation studies

Simple baseline: mean-only predictor.

Strong baseline: PLSR on raw mean-centred spectra.

Ablations: from the best pipeline, remove (a) preprocessing, (b) wavelength selection and (c) the non-linear model, each under the same folds and tuning budget, to show what each component contributes.

### 3.9.3 Metrics and analysis

Table 16: Metrics defined before experimentation

| Metric | What it tests |
| --- | --- |
| RMSEP | Typical error in % moisture on unseen samples (primary metric) |
| R2p and RPD | Variance explained; RPD = SD of reference / RMSEP guards against narrow ranges |
| Bias | Systematic over- or under-prediction affecting sale weight |
| RMSEC vs RMSECV vs RMSEP | Over-fitting |
| Paired Wilcoxon test; bootstrap 95% CI | Whether differences between models are real |
| LOSO RMSEP | Generalisation to an unseen source |
| Repeat-scan SD | Measurement repeatability |
| Seconds per sample | Time saved versus oven-drying |
| Interval coverage; flag rate | Reliability of uncertainty outputs |
| SUS score | Usability in the field |

### 3.9.4 Research question to evaluation traceability

Table 17: Research question to evaluation traceability

| RQ | Experiment | Evidence | Decision supported |
| --- | --- | --- | --- |
| RQ1 | Locked-test evaluation of the best pipeline | RMSEP, R2p, RPD, bias | Is NIR accurate enough for moisture screening? |
| RQ2 | Preprocessing grid; CARS vs SPA/iPLS vs full | RMSECV tables, band stability | Which preprocessing and bands to deploy |
| RQ3 | PLSR vs SVR vs RF (vs NN); LOSO | RMSEP, paired tests, LOSO error | Whether AI models are worth their complexity |
| RQ4 | Timed oven and NIR tests; field trial | Seconds per sample, field RMSEP, SUS | Whether NIR is practical outside the lab |
| RQ5 | Evidence grading; optional partner-lab pilot | Feasibility matrix | Which parameters to add next |

## 3.10 Project management methodology

The project is managed as ten work packages with milestones, a prioritised backlog (MoSCoW, with Must items scheduled first), fortnightly supervisor meetings with written notes, a weekly progress review against the Gantt chart, and an issue log (Appendix K). Contingency is built in through overlapping phases and droppable Could items.

### 3.10.1 Schedule and milestones

Figure 4: Summary schedule and milestones

Data collection (December to February) is the critical path; baseline modelling starts on early batches, and the multi-parameter synthesis runs in parallel. Two to three weeks of contingency sit within P10. The task-level chart and backlog are in Appendix J.

### 3.10.2 Deliverables and dates

Table 18: Deliverables and dates

| Deliverable | Objective | Due date | Acceptance criterion | Dependency |
| --- | --- | --- | --- | --- |
| Project proposal | O1 | 31 Oct 2026 | Approved by supervisor | Literature review |
| Ethics approval and SOPs | O2 | 30 Nov 2026 | Signed approval; pilot done | Proposal |
| Paired dataset | O2 | 15 Feb 2027 | At least 80 samples; SD at most 0.2% | Spectrometer; suppliers |
| Locked test set and baseline | O5, O6 | 28 Feb 2027 | Hash recorded; baseline logged | Dataset |
| Feasibility matrix | O8 | 31 Mar 2027 | All six parameters rated | Review |
| Model comparison | O3 to O5 | 31 Mar 2027 | All runs logged | Baseline |
| Evaluation and prototype | O6, O7 | 20 Apr 2027 | Metrics reported; prototype runs | Models |
| Field report | O7 | 30 Apr 2027 | Field RMSEP and SUS reported | Prototype |
| Final thesis | All | 15 May 2027 | Submitted | All |

## 3.11 Resources and new technical skills

Hardware: portable NIR spectrometer (model and access to confirm), laboratory oven, analytical balance (0.001 g), desiccator, sealed bags, temperature and humidity logger, laptop. Software: Python, scikit-learn, SciPy, pandas, matplotlib, optional PyTorch, Git, MLflow or CSV logs, Streamlit. Compute and storage: a laptop CPU is sufficient; two cloud backups. Domain expertise: supervisor, and a tea technologist or partner laboratory if available. New skills: NIR chemometrics (CARS, PLSR diagnostics), laboratory moisture protocol and spectrometer operation, learned through the reviewed literature, online chemometrics courses, the pilot study and supervisor guidance. Constraints: no in-house HPLC, spectrophotometer or LC-MS/MS.

## 3.12 Risk analysis and mitigation

Table 19: Highest-priority risks; full register in Appendix K

| Risk | L | I | Trigger | Prevention | Contingency | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| Spectrometer unavailable | M | H | No confirmed unit by mid-November | Confirm early; second source | Benchtop at partner lab | Student |
| Too few samples or narrow moisture range | M | H | Under 50 samples by January; SD of moisture under 1% | Several suppliers; conditioning | Accept 80; drop neural model | Student |
| Inconsistent oven reference | M | H | Replicate SD above 0.2% | SOP; pilot; triplicates | Re-run; exclude with reason | Student |
| Data leakage | M | H | Test error far below CV error | Locked hash; pipelines | Re-split; disclose | Student |
| No partner lab for other parameters | H | M | No agreement by January | Early outreach; retained subsamples | Evidence-only assessment (planned) | Student, supervisor |
| Scope creep to all parameters | H | H | New parameter added to experiments | MoSCoW; moisture-first agreed | Move to future work | Student, supervisor |
| Field conditions degrade accuracy | H | M | Field RMSEP above 1.5 times lab | Log conditions; warm-up | Report as feasibility finding | Student |

## 3.13 Preliminary proof of concept and feasibility evidence

Preliminary; surrogate data, not tea. To test the planned pipeline before tea data exist, it was run on the public Tecator dataset: 240 meat samples measured on a Tecator Infratec Food and Feed Analyzer (850 to 1050 nm transmission) with reference moisture from 32.8 to 76.6% (Borggaard and Thodberg, 1992). A Kennard-Stone split gave 168 calibration and 72 locked test samples, and all preprocessing and tuning were fitted with 10-fold cross-validation on the calibration set only.

Table 20: Preliminary proof of concept on surrogate NIR data (held-out test set)

| Model | RMSEC (%) | RMSEP (%) | R2p | RPD | Bias (%) |
| --- | --- | --- | --- | --- | --- |
| Mean-only baseline | 11.332 | 10.364 | -0.088 | 0.97 | -2.951 |
| PLSR (SNV + SG 1st derivative) | 1.704 | 1.921 | 0.963 | 5.21 | -0.263 |
| CARS-PLSR (11 of 100 wavelengths) | 1.643 | 1.959 | 0.961 | 5.11 | -0.096 |
| SVR | 0.685 | 1.044 | 0.989 | 9.58 | 0.058 |
| Random Forest | 0.479 | 1.298 | 0.983 | 7.71 | 0.043 |

Scatter correction mattered: SNV lowered PLSR RMSECV from 2.761% (raw) to 1.955%. CARS kept 11 of 100 wavelengths with almost unchanged test error (1.959% against 1.921%). SVR beat PLSR (RMSEP 1.044% against 1.921%; paired Wilcoxon p < 0.001), and a prediction took about 1.5 ms of computation. These results confirm the code and validation protocol work end to end; they do not predict tea performance, because the matrix, range and instrument differ. Plots and logs are in Appendix M.

## 3.14 Chapter summary

The research is a positivist, deductive, quantitative experiment for moisture, supported by structured evidence synthesis for other parameters. An eight-stage pipeline, fixed baselines, ablations, a locked test set and source-held-out validation will answer RQ1 to RQ4, and a graded feasibility matrix will answer RQ5. Requirements, design, data management, schedule, resources and risks have been defined, and a preliminary run on surrogate data confirms that the pipeline functions.

# CHAPTER 4: LEGAL, ETHICAL, SOCIAL AND PROFESSIONAL ISSUES

## 4.1 Chapter overview

This chapter identifies the social, legal, ethical and professional issues specific to Tea Sense, mapped to the BCS Code of Conduct (Public Interest; Professional Competence and Integrity; Duty to Relevant Authority; Duty to the Profession), and the responsible use of generative AI. The mitigations are already embedded in the methodology in Chapter 3.

## 4.2 Social issues

| Risk | Stakeholder | Consequence | Control | Contingency | Evidence |
| --- | --- | --- | --- | --- | --- |
| Unequal performance across sources | Smaller or under-sampled estates | Wrong moisture or quality values affect their sale weight | Diverse sourcing; per-source RMSEP (Public Interest) | State validated scope; collect more data | Per-source residual table |
| Over-reliance and automation bias | Factory staff, brokers | Mouldy or poor tea released on a model alone | Screening label, interval, range flag; lab confirmation | Withdraw prototype from use | UI review; field interviews |
| Accessibility | Operators with limited English or technical training | Misread outputs | Large numerals, text plus colour, few steps | Sinhala and Tamil labels as future work | SUS and observed errors |
| Exclusion by cost | Small producers | Benefits limited to large factories | Low-cost sensor and free software | Document a minimal set-up | Cost table in thesis |

## 4.3 Legal issues

Data protection and consent. The dataset holds no personal data. Field participants give written consent; responses are anonymous, and consent forms are stored securely under the Sri Lanka Personal Data Protection Act No. 9 of 2022 and university policy. Commercial confidentiality. Supplier identities are coded and named only with written consent. Licences and copyright. Python libraries are used under BSD, MIT or Apache licences; vendor software under its licence; the Tecator data under its stated terms, acknowledging the instrument and company; all literature is cited. Third-party tools and storage. No confidential data are entered into third-party AI tools; cloud backups use university-approved storage, avoiding unnecessary cross-border transfer. Sector rules. No claim of compliance with ISO 3720, residue limits or buyer specifications is made.

## 4.4 Ethical issues

Ethics approval will be obtained before data collection or field testing (Appendix N). Data minimisation: only metadata needed for analysis is collected. Bias and fairness: per-source reporting and LOSO testing expose unequal performance. Transparency and error communication: every output shows an interval, a flag and a screening label, and published results report calibration and prediction errors side by side. Human oversight: laboratory confirmation remains the authority. Non-fabrication: no data, results or feedback are invented, negative results are reported, and glyphosate is explicitly not claimed as detectable by NIR.

## 4.5 Professional issues

Work stays within competence, with supervisor and domain review of the protocol (Professional Competence and Integrity). Reporting is accurate and reproducible through locked tests, logs and clean re-runs (Duty to Relevant Authority). Code is developed with version control, tests and dependency pinning, and no credentials or supplier data are committed. Any flaw found in the method or published code will be disclosed and corrected. The work follows the BCS Code of Conduct and cites all sources (Duty to the Profession).

## 4.6 Responsible use of Generative AI tools

### 4.6.1 Intended and permitted use

Claude, Gemini was used for language refinement, structuring the proposal against the template, drafting assistance for sections that the author then reviewed and edited, literature-search support, and help writing preliminary analysis code that was run and inspected by the author.

### 4.6.2 Prohibited or high-risk use

Generative AI must not be used to fabricate citations, data or results, to generate experimental findings, to process confidential supplier data, to disguise plagiarism, or to make unverified domain claims. Any AI-suggested source that cannot be located and read is removed.

### 4.6.3 Verification and human accountability

Every factual claim is verified against the original source, every cited paper is read by the author before submission, AI-assisted code is run and inspected, and evidence (search records, logs, drafts) is retained. Items not yet verified are marked in the references. The author is accountable for all content.

### 4.6.4 Privacy, confidentiality and intellectual property

Supplier names, sample data, personal data and unpublished results are never entered into AI tools; minimal synthetic or public examples (such as the Tecator data) are used instead. Copyrighted text is not pasted for rewriting.

### 4.6.5 Transparency, disclosure and AI-use register

All uses are disclosed in the front-matter declaration and recorded in the AI-use register in Appendix L, which lists the tool, date, purpose, input category, verification performed and whether the output was retained, rewritten or rejected.

### 4.6.6 Generative AI declaration

Generative AI tools were used to support language refinement, structuring, drafting assistance, literature-search support and preliminary code. All technical decisions, objectives, methods and interpretations were reviewed and approved by the author, who takes full responsibility for the accuracy, originality and integrity of this proposal. This statement is consistent with the declaration in the front matter.

### 4.6.7 Project-specific Generative AI risk assessment

| Risk | Possible consequence | Control and evidence |
| --- | --- | --- |
| Fabricated or misattributed citation | Academic misconduct; false evidence | Each DOI checked via Crossref or publisher; markers; reading log |
| Incorrect technical claim | Flawed method or examiner challenge | Claims checked against papers; supervisor review |
| Over-reliance on AI drafting | Student cannot defend the work | Author rewrites sections; viva rehearsal |
| Confidential data exposure | Breach of supplier trust | No supplier data entered; register audit |
| Unverified code | Wrong results | Code run, inspected and unit-tested; logs kept |

## 4.7 Chapter summary

The main risks are over-reliance on screening outputs, unequal performance across sources, supplier confidentiality, misrepresentation of results and misuse of generative AI. Each has a preventive control, a contingency and evidence that the control is followed, and these are built into the methodology. These measures reduce, but do not eliminate, the risks, so they will be reviewed throughout the project.

# REFERENCES

An, T., Jiang, Y., Zou, H., Xuan, X., Zhang, J. and Yuan, H. (2025) Evaluation of withering quality of black tea based on multi-information fusion strategy. Foods, 14(9), 1442. https://doi.org/10.3390/foods14091442

Andasuryani, A., Cherie, D. and Nelfi, F.P. (2024) Prediction of moisture content in Gambir leaf herbal tea using NIR spectroscopy. IOP Conference Series: Earth and Environmental Science, 1426, 012008. https://doi.org/10.1088/1755-1315/1426/1/012008

Bai, X., Zhang, L., Kang, C., Quan, B., Zheng, Y., Zhang, X., Song, J., Xia, T. and Wang, M. (2022) Near-infrared spectroscopy and machine learning-based technique to predict quality-related parameters in instant tea. Scientific Reports, 12, 3833. https://doi.org/10.1038/s41598-022-07652-z

BCS, The Chartered Institute for IT (n.d.) BCS Code of Conduct. Available at: https://www.bcs.org/membership-and-registrations/become-a-member/bcs-code-of-conduct (Accessed: 19 October 2026).

Borggaard, C. and Thodberg, H.H. (1992) Optimal minimal neural interpretation of spectra. Analytical Chemistry, 64(5), pp.545-551. https://doi.org/10.1021/ac00029a018 (Tecator dataset; data recorded on a Tecator Infratec Food and Feed Analyzer, distributed via OpenML dataset 505.)

Chen, Q., Chen, M., Liu, Y., Wu, J., Wang, X. and Ouyang, Q. (2018) Application of FT-NIR spectroscopy for simultaneous estimation of taste quality and taste-related compounds content of black tea. Journal of Food Science and Technology, 55(10), pp.4363-4368. https://doi.org/10.1007/s13197-018-3353-1

Daily FT (2026) Tea exports top $1.5 b in 2025 despite price pressures. 23 January. Available at: https://www.ft.lk/front-page/Tea-exports-top-1-5-b-in-2025-despite-price-pressures/44-787299

Daily Mirror (2018) Mixing sugar into tea: explanations called from 53 factories. 15 March. Available at: https://www.dailymirror.lk/breaking-news/Mixing-sugar-into-tea-Explanations-called-from-factories/108-147300

Damayanthi, G.N., Binduhewa, K.M., Amalka, B.A.T., Dissanayake, C.K., Alakolanga, A.G.A.W. and Ellepola, V.P. (2025) Application of FTIR spectroscopy and multivariate modeling for identifying sugar adulteration in black tea. RESCON 2025, PGIS, University of Peradeniya, PS 11, p.177.

Damayanthi, N., Binduhewa, K., Amalka, T. and Dissanayake, C. (2026) Machine learning and chemometrics-based detection of sugar adulteration in black tea using UV-visible spectroscopy. ISAE 2026, University of Ruhuna, abstract 95, p.31.

Das, D., Nag, S., Naskar, H., Sau, T., Hazarika, A.K., Sabhapondit, S., Banerjee Roy, R., Tudu, B. and Bandyopadhyay, R. (2020) Discrimination of green tea samples on the basis of gallic acid content using near infrared spectroscopy. ANS2020.

Dong, C., Zhu, H., Wang, J., Yuan, H., Zhao, J. and Chen, Q. (2017) Prediction of black tea fermentation quality indices using NIRS and nonlinear tools. Food Science and Biotechnology, 26(4), pp.853-860. https://doi.org/10.1007/s10068-017-0119-x

Guo, M., Chen, Z., Ding, Z., Wang, D., Qi, D., Lu, M., Wang, M. and Dong, C. (2025) Traceability of Rizhao green tea origin based on multispectral data fusion strategy and chemometrics. Food Chemistry: X, 27, 102346. https://doi.org/10.1016/j.fochx.2025.102346

Hazarika, A.K., Sabhapondit, S., Chanda, S., Tamuly, P., Sanyal, S., Tudu, B. and Bandyopadhyay, R. (2017) Near infrared (NIR) spectroscopy: the green analytical tool for tea quality analyses, a short review. Two and a Bud, 64(1), pp.1-9.

Hazarika, A.K., Sing, D., Naskar, S., Sabhapondit, S., Banerjee, S. and Bandyopadhyay, R. (2024) Rapid quality evaluation and market valuation of Crush Tear Curl black tea using near infrared spectroscopy.

Huang, J., Luo, B., Cao, Y., Li, B., Qian, M., Jia, N. and Zhao, W. (2022) Fusion of THz-TDS and NIRS based detection of moisture content for cattle feed. Frontiers in Physics, 10, 833278. https://doi.org/10.3389/fphy.2022.833278

Huang, L., Liu, M., Li, B., Chitrakar, B. and Duan, X. (2024) Terahertz spectroscopic identification of roast degree and variety of coffee beans. Foods, 13(3), 389. https://doi.org/10.3390/foods13030389

ISO (1980) ISO 1573:1980 Tea: determination of loss in mass at 103 C. Geneva: International Organization for Standardization.

ISO (2011) ISO 3720:2011 Black tea: definition and basic requirements. Geneva: ISO.

ISO (2005) ISO 14502-1:2005 Determination of substances characteristic of green and black tea, Part 1: content of total polyphenols in tea, colorimetric method using Folin-Ciocalteu reagent. Geneva: ISO.

ISO (2005) ISO 14502-2:2005 Determination of substances characteristic of green and black tea, Part 2: content of catechins in green tea, method using HPLC. Geneva: ISO.

Kang, Y., Qi, F., Deng, L., Zou, D., Wang, H., Li, Y., Wei, Y., Wei, X. and Tang, Z. (2026) TSNet with sigma-adaptive spectral sampling for tea moisture monitoring. Journal of Food Measurement and Characterization, 20, pp.8956-8971. https://doi.org/10.1007/s11694-026-04244-7

Lan, T., Shen, S., Yuan, H., Jiang, Y., Tong, H. and Ye, Y. (2022) A rapid prediction method of moisture content for green tea fixation based on WOA-Elman. Foods, 11(18), 2928. https://doi.org/10.3390/foods11182928

Li, L., Chen, Y., Dong, S., Shen, J., Cao, S., Cui, Q., Song, Y. and Ning, J. (2023) Rapid and comprehensive grade evaluation of Keemun black tea using efficient multidimensional data fusion. Food Chemistry: X, 20, 100924. https://doi.org/10.1016/j.fochx.2023.100924

Liu, Y., Pan, K., Liu, Z., Dai, Y., Duan, X., Wang, M. et al. (2024) Simultaneous determination of four catechins in black tea via NIR spectroscopy and feature wavelength selection: a novel approach. Sensors, 24(11), 3362. https://doi.org/10.3390/s24113362

Luo, Z. et al. (2023) Rapid non-destructive detection method for black tea with exogenous sucrose based on near-infrared spectroscopy. Spectroscopy and Spectral Analysis, 43(8), p.2649.

Pan, J., Wu, W., Lu, R., Yu, W., Chen, T.-J. and Chen, R. (2026) Applications of derivative spectroscopy on determination of nitrogen status of tea plant (Camellia sinensis). BIO Web of Conferences, 230, 01003. https://doi.org/10.1051/bioconf/202623001003

Piyasena, K.G.N.P., Hettiarachchi, L.S.K., Jayawardhane, S.A.D.P.S., Edirisinghe, E.N.U. and Jayasinghe, W.S. (2022) Evaluation of inherent fructose, glucose and sucrose concentrations in tea leaves (Camellia sinensis L.) and in black tea. Applied Food Research, 2, 100100. https://doi.org/10.1016/j.afres.2022.100100

Piyasena, K.G.N.P., Kalinga, J., Jayasinghe, W.S. and Ranatunga, M.A.B. (2026) Monthly fluctuations in total polyphenol content of Sri Lankan tea cultivars in relation to climatic factors and drying techniques. Bulletin of the National Research Centre, 50, 29. https://doi.org/10.1186/s42269-026-01415-w

Qiu, J., Zhang, X., Guo, J., He, T., Zhang, L., Fu, S., Pan, R. and Jia, K. (2026) Research progress of spectroscopic detection technology in agricultural product quality detection. Agricultural Products Processing and Storage, 2, 22. https://doi.org/10.1007/s44462-025-00050-4

Rehman, N.U., Al-Harrasi, A., Boque, R., Mabood, F., Al-Broumi, M., Hussain, J. and Alameri, S. (2020) FT-NIRS coupled with PLS regression as a complement to HPLC routine analysis of caffeine in tea samples. Foods, 9(6), 827. https://doi.org/10.3390/foods9060827

Revilla, I., Hernandez Jimenez, M., Martinez-Martin, I., Valderrama, P., Rodriguez-Fernandez, M. and Vivar-Quintana, A.M. (2024) The potential use of near infrared spectroscopy (NIRS) to determine the heavy metals and the percentage of blends in tea. Foods, 13(3), 450. https://doi.org/10.3390/foods13030450

Roberts, E.A.H. and Smith, R.F. (1961) Spectrophotometric measurements of theaflavins and thearubigins in black tea liquors in assessments of quality in teas. The Analyst, 86(1019), pp.94-98. https://doi.org/10.1039/AN9618600094

Samanthy, Y., Liyanaarachchi, G.V.V., Abarna, K., Weerasekara, R.A.D.S.M.R., Chathurangani, D.A.U., Weeraman, P.I.D. and Mubarak, M.N.A. (2021) Simple and rapid method for underivatized analysis of glyphosate residues in tea (Camellia sinensis) using LC-MS/MS detection. Proceedings of iPURSE 2021, University of Peradeniya, p.158.

Sarma, O. and Dashora, K. (2026) Machine learning-based prediction of sensory quality in tea blends using a semi-trained panel assessment. Sustainable Food Technology, 4, pp.2805-2818. https://doi.org/10.1039/d5fb00580a

Saunders, M., Lewis, P. and Thornhill, A. (2019) Research Methods for Business Students. 8th edn. Harlow: Pearson.

Scheibelhofer, O., Wahl, P.R., Larcheveque, B., Chauchard, F. and Khinast, J.G. (2016) Spatially resolved spectral powder analysis: experiments and modeling. Manuscript.

Tang, J., Chen, Y., Meng, Q., Zhao, B., Qiao, D., Zhao, G. and Chen, J. (2025) Spectral multi-scale attention fusion network for rapid detection of black tea adulteration using a handheld spectrometer. Foods, 14(24), 4261. https://doi.org/10.3390/foods14244261

Tao, W., Chen, B., Yang, X., Guo, B., Chi, L., Huang, Y., Li, R. and Ren, J. (2026) Deep learning model for real time moisture content detection and prediction in white tea withering using near infrared spectroscopy. Scientific Reports, 16, 26972. https://doi.org/10.1038/s41598-026-57739-0

Xu, J., Qu, F., Shen, B., Huang, Z., Li, X., Weng, H., Ye, D. and Wu, R. (2023) Rapid detection of tea polyphenols in fresh tea leaves based on fusion of visible/short-wave and long-wave near infrared spectroscopy and its device development. Applied Sciences, 13, 1739. https://doi.org/10.3390/app13031739

Xu, Z., Jiang, X., Chen, Q. and Cai, P. (2026) Detection of polyphenols-to-amino acids ratio in Wuyi Rock Tea via CARS-PLSR processing of near infrared spectroscopy. RSC Advances, 16(3), pp.2213-2220. https://doi.org/10.1039/D5RA08177G

Zareef, M., Chen, Q., Ouyang, Q., Kutsanedzie, F.Y.H., Hassan, M.M., Viswadevarayalu, A. et al. (2018) Prediction of amino acids, caffeine, theaflavins and water extract in black tea using FT-NIR spectroscopy coupled chemometrics algorithms. Analytical Methods, 10(25), pp.3023-3031. https://doi.org/10.1039/C8AY00731D

# APPENDICES

Each appendix supports a section of the main text; the essential arguments remain in Chapters 1 to 4.

## Appendix A: Detailed search strategy and screening log

| Search | Databases | String (abridged) | Date | Records | Kept |
| --- | --- | --- | --- | --- | --- |
| S1 NIR tea quality | Google Scholar, ScienceDirect, MDPI | (tea) AND ("near infrared" OR NIR) AND (quality OR chemometric*) | Before Sep 2026 (author survey) | 14 | 11 |
| S2 Tea moisture | Google Scholar, MDPI, SpringerLink, Nature, IOP | (tea) AND (moisture OR "water content") AND (NIR OR spectroscop*) | Before Sep 2026 | 9 | 9 |
| S3 Sri Lankan tea chemistry | Proceedings, BNRC, Applied Food Research | ("Sri Lanka*" OR Ceylon) AND tea AND (sugar OR polyphenol*) | Before Sep 2026 | 6 | 6 |
| S4 Off-domain NIR captured by broad searches | Various | "near infrared spectroscopy" (broad) | Before Sep 2026 | 5 | 0 |
| S5 Targeted: caffeine, TF:TR, catechins | PMC, RSC, SpringerLink, Crossref | (tea) AND (caffeine OR theaflavin* OR catechin*) AND NIR | 19 Oct 2026 | 7 | 7 |
| S6 Targeted: sugar, glyphosate | PMC, Peradeniya repository, Crossref | (tea) AND (sucrose OR glyphosate) AND (NIR OR LC-MS) | 19 Oct 2026 | 4 | 4 |

Screening: 45 records; 5 excluded at full text as off-domain (gemology, two cerebral-oximetry papers, a neuroscience commentary, an RFID antenna paper); 40 included. Counts per search in S1 to S3 are reconstructed from the author's survey sheet and should be confirmed against the original search history.

## Appendix B: Concept map

Figure 5: Concept map (full size)

## Appendix C: Literature survey matrix

The full matrix of all 45 records (34 from the author's survey and 11 marked NEW) is presented on the landscape pages that follow the appendices.

## Appendix D: Research gap analysis matrix

| Gap | Moisture | Polyphenols | TF:TR | Caffeine | Sugar | Glyphosate |
| --- | --- | --- | --- | --- | --- | --- |
| NIR evidence exists | Strong | Moderate to strong | Strong | Strong | Emerging | None |
| Sri Lankan black-tea evidence | None | Chemistry only (Piyasena 2026) | None | None | FTIR, UV-Vis only | LC-MS only |
| Cross-source validation | Rare | Rare | Rare | Rare | Rare | Not applicable |
| Time saving measured | Rare | No | No | HPLC time only | No | No |
| Addressed by Tea Sense | Experimentally | Evidence plus optional pilot | Evidence plus optional pilot | Evidence plus optional pilot | Evidence plus optional pilot | Evidence (negative) |

## Appendix E: Dataset comparison matrix and data dictionary

The dataset comparison is in Section 2.6. The Tea Sense data dictionary is below.

| Field | Type | Unit | Description |
| --- | --- | --- | --- |
| sample_id | string | - | Coded ID, e.g. S1-017 |
| source_code | string | - | Coded estate or factory |
| grade | category | - | BOP, BOPF, Pekoe, Dust, etc. |
| stage | category | - | Made tea, final dryer, conditioned |
| date | date | - | Scan date |
| temp_C, RH_pct | float | C, % | Ambient conditions at scan |
| scan_k_w | float | absorbance | Scan k at wavelength w |
| moisture_rep_1..3 | float | % wet basis | Oven replicates |
| moisture_mean | float | % wet basis | Reference value |
| oven_minutes | int | min | Time to constant mass |
| retained_subsample | bool | - | Sealed subsample kept for partner-lab analysis |
| qc_flag | string | - | QC exclusion reason, if any |

## Appendix F: Stakeholder onion, elicitation instruments and evidence

| Layer | Stakeholders |
| --- | --- |
| Core (system) | Researcher; prototype |
| Operational | Factory QC staff, dryer operators, laboratory analysts |
| Containing business | Supervisor, examiners, sample suppliers, partner laboratory |
| Wider environment | Sri Lanka Tea Board, brokers, exporters, importers, consumers, ethics committee, spectrometer vendor |

Planned instruments (after ethics approval): (1) a short discussion guide for a tea technologist: how moisture is currently checked, acceptable error, decision points, sample handling; (2) a field-test observation sheet: time per scan, handling errors, conditions; (3) the 10-item System Usability Scale.

Evidence so far: literature, standards and industry reports only; no human participants have been involved yet.

## Appendix G: Full functional and non-functional requirements

| ID | Priority | Requirement | Verification | Trace |
| --- | --- | --- | --- | --- |
| FR01 | Must | Record sample ID and metadata | Data audit | O2 |
| FR02 | Must | Acquire spectra with white and dark references, three scans | File inspection | O2 |
| FR03 | Must | Triplicate oven moisture with timing | Mass log | O2, O6 |
| FR04 | Should | Retain sealed subsample | Sample log | O8 |
| FR05 | Must | Configurable preprocessing inside CV | Unit and leakage tests | O3 |
| FR06 | Must | PCA, T2 and Q outlier detection | QC report | O2 |
| FR07 | Must | Lock and hash test set | Hash check | O6 |
| FR08 | Must | CARS and comparator selection | Run log | O4 |
| FR09 | Must | PLSR, SVR, RF on identical splits | Run log | O5 |
| FR10 | Could | Neural model if about 150+ samples | Run log | O5 |
| FR11 | Must | Report RMSEC, RMSECV, RMSEP, R2, RPD, bias | Report | O6 |
| FR12 | Must | Model registry per parameter | Code review | O8 |
| FR13 | Must | Predict with interval and range flag | Out-of-range test | O7 |
| FR14 | Should | Log time and predictions | Log review | O6 |
| FR15 | Could | Train additional parameter models when reference data arrive | Run log | O8 |
| FR16 | Could | Streamlit interface | Demo | O7 |
| NFR01 | Must | R2p at least 0.90, RPD at least 2.5 | Locked test | H1 |
| NFR02 | Must | Under 60 s per sample | Timing | H4 |
| NFR03 | Should | Repeat-scan SD at most 0.2% | Repeat scans | O7 |
| NFR04 | Must | Reproducible from code, seeds, data version | Clean re-run | Integrity |
| NFR05 | Must | Runs on laptop CPU | Field use | O7 |
| NFR06 | Should | SUS at least 68 | Questionnaire | O7 |
| NFR07 | Must | No personal data; coded suppliers; two backups | Audit | Ch. 4 |
| NFR08 | Must | Screening label on outputs | UI review | Ch. 4 |

## Appendix H: Use cases, use-case descriptions and activity/sequence diagrams

Figure 6: Use-case diagram

| Use case | Actor | Main flow | Alternative flow |
| --- | --- | --- | --- |
| UC3 Scan sample | Researcher, QC operator | Load sample in holder; scan three times with repacking; average; save | Reference expired: re-run white and dark references |
| UC4 Record oven reference | Researcher, lab analyst | Weigh 3 to 5 g in triplicate; dry at 103 C; cool; weigh to constant mass; log time | Replicate SD above 0.2%: repeat |
| UC6 Predict parameters | QC operator | Load spectrum; apply registry; show value, interval, flag, label | Out of range: show "send to laboratory" |
| UC7 Review flagged result | QC operator, lab analyst | Send flagged sample for laboratory test; record result | Repeated flags: report to researcher for recalibration |

Activity (predict): start, calibrate, scan x3, average, preprocess, out-of-range check, then either predict and display or flag for laboratory, end.

## Appendix I: Detailed architecture and data-flow diagrams

Figure 7: Conceptual architecture (repeat of Figure 2 for reference)

Figure 8: Data-flow diagram

## Appendix J: Detailed Gantt chart, backlog and milestone plan

| Phase | Tasks | Start | End | Milestone |
| --- | --- | --- | --- | --- |
| P1 Research and proposal | Review; matrix; proposal | Sep 2026 | Oct 2026 | Proposal submitted |
| P2 Ethics, protocol, pilot | Ethics form; SOPs; pilot | Nov 2026 | Nov 2026 | Approval |
| P3 Data collection | Source; scan; oven-dry; retain | Dec 2026 | Feb 2027 | Dataset v1 |
| P4 Cleaning and baseline | QC; split; PLSR baseline | Jan 2027 | Feb 2027 | Test set locked |
| P5 Multi-parameter synthesis | Evidence grading; registry design; partner outreach | Jan 2027 | Mar 2027 | Feasibility matrix |
| P6 Preprocessing and selection | Grid; CARS; SPA/iPLS | Feb 2027 | Mar 2027 | RQ2 tables |
| P7 Models | SVR; RF; optional NN; tuning | Mar 2027 | Mar 2027 | Tuned models |
| P8 Evaluation and prototype | Locked test; LOSO; timing; prototype | Mar 2027 | Apr 2027 | RQ1, RQ3 |
| P9 Field feasibility | Field trial; oven subset; SUS | Apr 2027 | Apr 2027 | RQ4 |
| P10 Write-up and viva | Chapters; proofreading; viva practice | Apr 2027 | May 2027 | Final thesis |

Backlog priority rule: Must items first; Could items (neural model, Streamlit, partner-lab pilot) only after the moisture evaluation is complete.

## Appendix K: Full risk register and issue log

| Risk | L | I | Mitigation | Contingency |
| --- | --- | --- | --- | --- |
| Spectrometer unavailable | M | H | Confirm early; second source | Benchtop at partner lab |
| Too few samples or narrow range | M | H | Several suppliers; conditioning | Accept 80; drop NN |
| Inconsistent oven values | M | H | SOP; triplicates; pilot | Re-run; exclude |
| Moisture change before drying | M | M | Sealed bags; short window | Record time gap |
| Weak model performance | M | M | Systematic search; QC | Report as valid finding |
| Data leakage | M | H | Locked test; pipelines | Re-split; disclose |
| No partner lab | H | M | Early outreach | Evidence-only (planned) |
| Scope creep | H | H | MoSCoW | Future work |
| Field conditions | H | M | Log conditions | Report as finding |
| Instrument drift | M | M | References; control sample | Drift correction |
| Timeline slip | M | M | Buffer; weekly review | Drop Could items |
| Data loss | L | H | Git; two backups | Restore |
| Limited chemometrics skills | M | M | Learning plan; supervisor | Simplify to PLSR focus |
| Ethics delay | L | M | Submit early | Start with retail samples |

| Issue ID | Date raised | Description | Action | Status |
| --- | --- | --- | --- | --- |
| I-01 |  |  |  | Open |
| I-02 |  |  |  |  |

## Appendix L: Generative AI use declaration and AI-use register

The declaration is in the front matter and Section 4.6.6.

| Tool | Date | Purpose | Input category | Verification | Outcome |
| --- | --- | --- | --- | --- | --- |
| ChatGPT / other (author to complete) | Aug 2026 | Language refinement of Chapter 1 draft | Author's own draft text | Author review | Retained after editing |
| Claude (Anthropic) | 19 Oct 2026 | Structuring proposal to template; drafting assistance for Chapters 1 to 4 and appendices | Author's draft, survey sheet, public papers | Author to review and rewrite every section | To be rewritten or retained by author |
| Claude (Anthropic) | 19 Oct 2026 | Literature-search support for caffeine, TF:TR, polyphenols, sugar, glyphosate | Public search results | DOIs checked via Crossref; author to read papers | Retained; marked NEW |
| Claude (Anthropic) | 19 Oct 2026 | Preliminary proof-of-concept code on public Tecator data | Public dataset | Code run and outputs inspected; author to re-run | Retained as preliminary |

## Appendix M: Preliminary proof-of-concept screenshots, test logs and sample outputs

Figure 9: Proof of concept on surrogate Tecator data: raw spectra with CARS-selected wavelengths shaded (left) and SVR predictions on the locked test set (right)

| Preprocessing (PLSR) | Latent variables | RMSECV (%) | RMSEP (%) |
| --- | --- | --- | --- |
| Raw | 11 | 2.761 | 2.276 |
| SNV | 10 | 1.955 | 1.921 |
| MSC | 11 | 2.283 | 2.307 |
| SG smoothing | 11 | 2.817 | 2.488 |
| SG 1st derivative | 11 | 2.781 | 2.542 |
| SNV + SG 1st derivative | 10 | 1.949 | 1.921 |
| SG 2nd derivative | 5 | 2.66 | 2.769 |

Log summary. Data: OpenML dataset 505 (Tecator), 240 samples, 100 absorbances 850 to 1050 nm, moisture 32.8 to 76.6%. Split: Kennard-Stone 168/72. CV: 10-fold, seed 42. Best preprocessing by RMSECV: SNV + SG 1st derivative. CARS: 10 repeats of 50 iterations; best subset 11 wavelengths, 10 latent variables. SVR best parameters: C 1000, gamma 0.001, epsilon 0.2. Paired Wilcoxon SVR vs PLSR absolute errors: p = 1.2e-5. Prediction time 1.46 ms per sample (computation only). Script: poc.py (Python 3, scikit-learn 1.9).

## Appendix N: Ethics clearance material and data-management approvals

Status: to be attached after approval. Planned contents: ethics application form; participant information sheet and consent form for field-test users; supplier permission letters; laboratory risk assessment for oven, glassware and desiccant use; data-management plan approval.

Appendix C (continued): Literature survey matrix

| Citation | Problem | Data | Method | Evaluation | Findings | Limitations | Relevance |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hazarika et al. (2017), Two and a Bud | Need for a rapid, reagent-free alternative to chemical and sensory tea-quality testing | Initial experiments at Tocklai TRI and Jadavpur University; no named dataset | Review of NIR (780 to 2500 nm) diffuse reflectance with chemometric calibration | Narrative review | NIR is a green, fast, non-destructive tool for tea quality and process control | Review; NIR's own technical limits not detailed | High: foundational justification for NIR in tea |
| Das et al. (2020), ANS2020 | Discriminating green teas by gallic acid content | Five green-tea variants; HPLC reference | NIR reflectance 900 to 1700 nm; preprocessing; PCA; PLSR | Class Separability Index | Preprocessing raised separability from 53.63 to 93.20 | Abstract-level detail; gallic acid not moisture | High: shows preprocessing effect (RQ2) |
| Revilla et al. (2024), Foods 13(3) 450 | Predicting heavy metals and blend percentages in tea | 322 samples: 16 pure black, green and red teas plus lab blends; ICP-MS reference | Foss NIRSystem 5000 (1000 to 2498 nm); MPLS, PCA, SIMCA, OPLS-DA | Calibration vs validation accuracy | 98.3% calibration but 92.3% validation accuracy on some blends | Metals have no direct NIR peak; small sub-categories | High: calibration overstates accuracy (Gap 3) |
| Hazarika et al. (2024) | Rapid valuation of CTC black tea (liquor scores and theaflavin) | 100 commercial CTC samples from Kolkata and Upper Assam | Portable InGaAs NIR 900 to 1700 nm; SNV, MSC, 1D, 2D; PLSR with CARS and Random Frog | Prediction statistics vs spectrophotometer and sensory panel | Few selected wavelengths gave strong models | Sensory reference is subjective; moisture not targeted | High: black tea, portable NIR, CARS and PLSR template |
| Huang et al. (2024), Foods 13(3) 389 | Identifying coffee roast degree and variety | Three varieties, four roast levels; 125 tablets per sample | THz-TDS 0.06 to 4.5 THz; FFT; PCA; LD, SVM, NB, KNN | Classification accuracy | Linear discriminant classified best | THz blocked by water; samples dried below 5% moisture | Medium: shows why THz is unsuitable for moisture |
| Qiu et al. (2026), Agric. Products Processing and Storage 2:22 | State of spectroscopic quality detection across agricultural products | Review of many studies (fruit, meat, aquatic products) | Surveys HSI, Vis-NIR, NIRS, MIRS, Raman, THz and others; SG, SNV, MSC; SPA, CARS, GA; PLSR, SVM, ANN, CNN | Narrative synthesis | Identifies poor universality, environmental interference, cost and data volume as bottlenecks | Cross-product review | High: frames validation and field challenges (Gap 3, Gap 4) |
| Jin et al. (2024), Gems and Gemology 60(4) | UV-Vis-NIR spectroscopy for gem identification | Illustrative gem spectra | Absorption and reflectance spectroscopy; Beer-Lambert law | Qualitative interpretation | Explains chromophores and instrument set-ups | Not food or tea | Excluded: off-domain |
| Scheibelhofer et al. (2016), manuscript | Effect of particle size and density on NIR reflectance of powders | Seven lactose grades | Spatially resolved NIR 900 to 1700 nm; Monte Carlo photon simulation | Simulated vs measured absorbance | Particle size and packing change the sampled volume and spectra | Simplified particle shapes; DOI not final | Medium: supports repacking and scatter correction for tea particles |
| Martini and Arias (2021), J. Integrative Neuroscience | NIR spectroscopy and stimulation in cognitive neuroscience | No original data | Commentary | None | Discusses fNIRS and photobiomodulation | Medical, not food | Excluded: off-domain |
| Picton et al. / Germon et al., BJA correspondence | Reliability of NIR cerebral oximetry | Prior clinical studies | Correspondence | None | Debate on extracranial contamination | Medical, not food | Excluded: off-domain |
| Beese et al. (1998), Stroke 29(10) | NIRS vs evoked potentials for cerebral ischaemia | 317 surgical patients | INVOS 3100A oximeter; statistical tests | Clinical comparison | Clinical NIRS detection limits | Medical, not food | Excluded: off-domain |
| Zhou et al. (2026), Beverages 12(3) 32 | Tea variety traceability | 84 spectra: four varieties, seven samples each, three scans | Bruker FT-NIR 830 to 2500 nm; SG, MSC, SNV, 1D; PCA, LDA, SPA, SVM | Classification accuracy | NIR with preprocessing separates varieties | Four varieties; small set; limited external validation | Medium: preprocessing choices; small-sample caution |
| Damayanthi et al. (2026), ISAE 2026 | Detecting sugar adulteration in Sri Lankan black tea | 250 samples from seven Sri Lankan regions; 100 analysed | UV-Vis 190 to 1100 nm; SG, PCA, PLS-DA, RBF-SVM; 70:30 split | Classification on test split | Chemometrics and ML detect added sugar | Abstract only; limited validation detail | Medium: local precedent for chemometrics on Ceylon tea |
| Pan et al. (2026), BIO Web of Conferences 230 | Estimating tea plant nitrogen status | Tea garden canopy spectra with lab nitrogen | Derivative spectroscopy; spectral indices; PCA; linear regression | Regression fit | Derivatives help extract nitrogen signal | Field canopy effects; limited generalisation | Low: derivative preprocessing evidence only |
| Zhao et al. (n.d.), preprint | Classifying teas and modelling fermentation | 38 green and oolong specimens plus Pu-erh samples | LIBS; SG; VIP; Random Forest | Classification accuracy | LIBS fingerprints separate tea types | Destructive; small set | Low: LIBS rejected for moisture |
| Li et al. (2023), Food Chemistry: X 20 | Grading Keemun black tea | Seven grades, 30 samples per grade; nine-person sensory panel | Smartphone micro-NIR 900 to 1700 nm, vision, colorimetric array; SVM, LS-SVM, ELM; data fusion | Grade classification and regression | Fusion improved grading | One supplier; grinding needed | Medium: phone-linked NIR is practical for black tea |
| Damayanthi et al. (2025), RESCON 2025 | Sugar adulteration in Sri Lankan black tea by FTIR | Orthodox black tea from seven regions; 1 to 40% sugar | FTIR-ATR; SNV, MSC, derivative; PCA, OPLS-DA | Classification | FTIR with chemometrics detects added sugar | Abstract only; sample counts not given | Medium: local Sri Lankan evidence |
| Liu et al. (2020), J. Algorithms and Computational Technology | Reverse design of RFID tag antennas | Simulated antenna images | Image analysis; HFSS simulation | Simulation | Improves antenna matching | Not tea or spectroscopy | Excluded: off-domain |
| An et al. (2025), Foods 14(9) 1442 | Predicting moisture during black-tea withering | Jiukeng leaves, 12-hour controlled withering, hourly samples; moisture analyser reference | IAS-3100 NIR 900 to 1700 nm plus machine vision; VISSA; SVR; low, mid, high-level fusion | Regression metrics on validation | Fusion and VISSA improved moisture prediction | One cultivar, one harvest, controlled withering | High: black-tea moisture, wavelength selection |
| Zou et al. (2025), Foods 14(16) 2829 | Predicting tea pigments during rolling | 150 rolling samples of Fuding Dabai | Portable NIR plus vision; PLSR, SVR, LS-SVR; wavelength selection; fusion | Regression metrics | Fusion predicted theaflavins and thearubigins | One cultivar, controlled processing | Medium: future extension parameter |
| Xu et al. (2023), Applied Sciences 13 1739 | Polyphenols in fresh tea leaves | 800 leaves of two cultivars, one garden, one date | Dual-band Vis/NIR device; SG; Random Frog; LS-SVR; spectral fusion | Regression metrics | Fused bands improved polyphenol prediction; portable device built | Single site and date | Medium: device design and future polyphenol work |
| Zou, Li and Han (2024), Agronomy 14 1582 | Quality of Sichuan dark tea | 56 samples, three scans each | Thermo Antaris II FT-NIR; SNV, MSC, derivatives; siPLS; fluorescence EEM; XGBoost | Regression and classification | NIR predicted constituents of dark tea | Two tea types, local markets | Low to medium: preprocessing and siPLS evidence |
| Piyasena et al. (2026), Bull. National Research Centre 50 | Seasonal variation in polyphenols of Sri Lankan cultivars | TRI 2025 and DT-1 over 22 months at St. Coombs Estate | Folin-Ciocalteu assay; oven, freeze and fluid-bed drying | Statistical comparison | Polyphenols vary by month, climate and drying | Two cultivars, one estate; chemical not NIR | Medium: local reference chemistry; seasonal variation risk |
| Piyasena et al. (2022), Applied Food Research 2 | Natural sugars in tea leaves and black tea | Sri Lankan samples incl. 90 low-grown black teas | HPLC with RI detector | Statistical comparison | Sugars vary by maturity, cultivar and process | Needs extraction; not spectroscopy | Low: background on local reference methods |
| Sarma and Dashora (2026), Sustainable Food Technology 4 | Predicting sensory quality of tea blends | 30 blend runs of four Assam teas; semi-trained panel | Biochemical assays; ML classifiers; five-fold CV; SHAP | Cross-validated accuracy | Interpretable ML links chemistry to sensory scores | Assam only; subjective labels; no NIR | Low: ML validation practice |
| Zhang et al. (2023), Sensors 23(24) 9684 | Organic matter in tea-garden soil | 150 soil samples from three gardens | Hyperspectral imaging 300 to 1000 nm; SNV, MSC; Random Frog, VCPA-IRIV; SVR vs PLSR; fusion | Regression metrics | Fusion and selection improved prediction | One province; lab conditions | Low: selection and SVR vs PLSR evidence |
| Huang et al. (2022), Frontiers in Physics 10 | Moisture in cattle feed | 108 samples, 29.46 to 49.46% moisture; 2:1 split | THz-TDS plus handheld NIR 900 to 1700 nm; derivative, SG; CARS feature fusion; PLSR | Calibration and validation metrics | CARS-based fusion improved moisture prediction | Not tea; THz needs pellets and dry air | High: CARS and PLSR for moisture |
| Lan et al. (2022), Foods 11(18) 2928 | Moisture during green-tea fixation | Zhongcha 108; one site; samples every 25 s | NIR-S-R2 micro-NIR plus vision; SNV; PLSR, SVR, Elman, WOA-Elman; fusion | Regression metrics | Optimised Elman with fusion beat PLSR and SVR | One cultivar, site and run | High: micro-NIR tracks tea moisture; PLSR vs non-linear |
| Guo et al. (2025), Food Chemistry: X 27 | Origin traceability of Rizhao green tea | 105 samples from six regions; three tasters | IAS3100 NIR plus hyperspectral; MSC, z-score; PCA, SVM, RF, CNN; PLSR, SVR | Classification and regression | Fused features gave high origin accuracy | Modest dataset; overoptimism risk | Medium: multi-region validation lessons |
| Andasuryani et al. (2024), IOP Conf. Series EES 1426 | Moisture in Gambir herbal tea powder | 60 samples; 40 calibration, 20 validation; oven reference | Buchi NIRFlex N-500 1000 to 2500 nm; PLS | Calibration and external validation | PLS predicted moisture with oven-drying reference | One variety; small set; not Camellia sinensis | High: simple PLS plus oven template |
| Tao et al. (2026), Scientific Reports 16 | Real-time moisture in white-tea withering | 17,856 line observations; chronological split | MS-580 NIR analyser above conveyor; MSC; mRMR; attention BiGRU; XGBoost | Chronological train, validation, two test sets | Deep model predicted moisture online | One region and season; white tea | High: in-line feasibility and leakage-safe splits |
| Kang et al. (2026), J. Food Measurement and Characterization 20 | Tea moisture monitoring during withering | 215 batches, 1,505 spectra, 0 to 80% moisture | ATP8600 NIR; adaptive spectral sampling; TSNet (GRU, attention, CNN) | Lab and online validation | Deep model with adaptive sampling monitored moisture online | Controlled lab calibration; transfer unverified | High: deep models need large, wide-range data |
| Zou et al. (2022), Horticulturae 8(12) 1170 | Moisture of black tea across processing | 305 spectra from Jiukeng across fresh leaf, withering, rolling, fermentation, drying; oven reference | Micro-NIR 900 to 1700 nm; SNV, MSC, SG, z-score; PCA; PLS vs GWO-SVR | Calibration and prediction metrics | GWO-tuned SVR beat PLS | Single cultivar; controlled conditions | Very high: closest design to Tea Sense |
| Zhang, Gao and Guo (2026), Applied Sciences 16(3) 1614 | Year-to-year quality variation of Shiqian Taicha | 116 commercial batches 2021 to 2023 | Antaris II FT-NIR calibrated predictions; fuzzy membership scoring | Comparison by year and tea type | NIR moisture and constituents used in routine monitoring | Commercial data; climate confounding | Medium: NIR moisture in routine practice |
| NEW: Rehman et al. (2020), Foods 9(6) 827 | Rapid caffeine measurement in tea as a complement to HPLC | 25 commercial teas (Oman); 45 caffeine standards spiked into tea solution | FT-NIR 4000 to 10000 cm-1; unit vector normalisation; PLSR (3 factors); 75:25 split | RMSECV, external RMSEP, LOQ | Test RMSEP 0.08 ppm, r2 0.97, LOQ 0.3 ppm; agreed with HPLC (15 min run per sample) | Liquid tea solutions, not leaf; inconsistent figures between text and table | High: caffeine evidence (RQ4) |
| NEW: Zareef et al. (2018), Analytical Methods 10(25) | Predicting amino acids, caffeine, theaflavins and water extract in black tea | Black tea samples (count to verify) | FT-NIR; PLS, Si-PLS, GA-PLS, Bi-PLS | Calibration and prediction metrics | Bi-PLS gave best caffeine and theaflavin models with fewer variables | Full text not accessed; sample count unverified | High: black-tea caffeine and TF in one spectrum |
| NEW: Dong et al. (2017), Food Sci. Biotechnol. 26(4) | Fermentation quality indices of black tea | Black tea fermentation samples | NIR; Si-PLS interval selection; ELM boosted by AdaBoost | RMSEP, RPD, R per index | Predicted catechins, TP/FAA and TF/TR with RPD above 2.5 and R above 0.9 | One processing setting | Very high: direct TF:TR ratio evidence |
| NEW: Chen et al. (2018), J. Food Sci. Technol. 55(10) | Taste quality and taste compounds of black tea | Black tea samples | FT-NIR; Si-PLS; BP-AdaBoost | Prediction metrics | Simultaneous estimation of taste quality and related compounds | Full text not accessed | Medium: multi-parameter from one spectrum |
| NEW: Bai et al. (2022), Scientific Reports 12, 3833 | Quality parameters of instant tea | 118 instant tea samples | NIR; SVR, BPSO-SVR, PLS, BPSO-PLS | Validation Rp and RMSEP | Moisture Rp 0.971, caffeine 0.976, polyphenols 0.795, polysaccharides 0.819 | Instant tea, not leaf; polyphenol model weaker | High: one spectrum, four parameters; shows uneven feasibility |
| NEW: Liu et al. (2024), Sensors 24(11) 3362 | Four catechins in black tea | Black tea samples (count to verify) | NIR; FIC-SS wavelength selection; ELM vs PLS | Prediction metrics | ELM beat PLS for EC, ECG, EGC and EGCG | Overlapping catechin bands; small-sample problem | High: polyphenol sub-components and non-linear models |
| NEW: Xu et al. (2026), RSC Advances 16(3) | Polyphenols-to-amino-acids ratio in Wuyi Rock Tea | Wuyi Rock Tea samples | NIR; SNV plus SG derivative; CARS-PLSR | R2c, R2p, RPD | R2p 0.98 and RPD 3.21 for the TP/FAA ratio with CARS-PLSR | Oolong-type tea; one region | High: ratio targets and CARS |
| NEW: Luo et al. (2023), Spectrosc. Spectral Anal. 43(8) 2649 | Added sucrose in finished black tea | Fengqing black tea with 0, 250, 500, 750 g added sucrose | NIR; SNV; CARS, SFLA, VCPA-IRIV, VISSA; PLSR, SVR, RF | Rc, Rp, RPD | VCPA-IRIV-SVR best: Rp 0.924, RPD 2.51; non-linear beat PLSR | Abstract-level detail; one tea type | Very high: direct NIR sugar-in-black-tea evidence |
| NEW: Tang et al. (2025), Foods 14(24) 4261 | Trace colourant adulteration in black tea | 345 spectra; colourants at 0.1 to 0.5 g/kg | Handheld NIR-R210 900 to 1700 nm; SMAFNet deep network vs PLS-DA, SVM, RF, CNN | Validation accuracy | 97.2 to 100% accuracy | Lab-spiked powder; one tea | High: handheld NIR plus deep learning detects g/kg adulterants |
| NEW: Roberts and Smith (1961), The Analyst 86, 94 | Measuring theaflavins and thearubigins in black tea liquor | Black tea liquors | Solvent extraction and spectrophotometry | Comparison with tasters | Established the TF and TR reference method | Needs solvents and laboratory work | High: reference method for TF:TR |
| NEW: Samanthy et al. (2021), iPURSE 2021, p.158 | Glyphosate residues in tea | Fortified tea samples | Water/chloroform extraction; LC-MS/MS with MRM | Recovery, precision, LOD/LOQ | LOD 1.1 and LOQ 1.8 mg/kg; recoveries 92 to 100% | Specialist LC-MS/MS laboratory | High: shows glyphosate is a trace (mg/kg) target |